## Slide 1: Intelligent Coordination of Advanced FACTS Devices
A Multi-Objective Optimization Framework for Enhanced Power System Stability and Control
Presenter: [Your Name] Affiliation: [Your Organization] Date: [Presentation Date]
Made with Genspark

## Slide 2: Agenda
1.
Introduction & Motivation
2.
Modern FACTS Devices Overview
3.
Technical Approach & Key Innovations
4.
PSO-Optimized PID Control
5.
Nonlinear Synergetic Control (UPFC)
6.
Reinforcement Learning & Model Predictive Control
7.
Coordinated Control Strategies
8.
Simulation Results & Performance
9.
Future Directions
10.
Q&A
Made with Genspark

## Slide 3: Introduction & Motivation
S
U
MODERN POWER GRID
Growing Complexity of Modern Power Grids
Increasing integration of renewables, distributed generation, and energy storage systems has created unprecedented challenges in grid operation and stability management.
Need for Flexible & Intelligent Control
Rapid voltage fluctuations and power flow dynamics require advanced solutions for robust voltage/power flow control with fast response times.
FACTS as Enablers for Grid Resilience
FACTS devices provide crucial flexibility, resilience, and support for renewable integration through dynamic reactive power compensation and power flow control.
Unified & Intelligent Coordination
Our motivation: Develop a unified framework for optimal coordination of advanced FACTS controllers using intelligent multi-objective optimization techniques.
Made with Genspark

## Slide 4: Modern FACTS Devices: An Overview
SVC
STATCOM
SSSC
UPFC
Transmission Line 1
Transmission Line 2
Legend:
Shunt
Series
Combined
VSC-Based
Key FACTS Types
SVC (Static VAR Compensator): Shunt-connected, fast reactive power compensation
SSSC (Static Synchronous Series Compensator): Controls power flow through series voltage injection
STATCOM (Static Compensator): Fast dynamic voltage support with VSC technology
UPFC (Unified Power Flow Controller): Combined series/shunt control for complete power flow management
Latest Innovations
Delta-type Transformer-less UPFC: Lower cost, reduced weight, higher efficiency
Hybrid SVC/SSSC: Coordinated control for enhanced stability and disturbance rejection
Coordinated D-STATCOM/SVC: Dynamic VAR compensation for AC-DC grid integration
Technical Challenges
Nonlinearity: Inherent device nonlinearities affecting control response
Device Interaction: Potential adverse control interactions among devices
Parameter Tuning: Complex trade-offs in controller parameter settings
Real-time Operation: Computational constraints in practical implementations
Model Uncertainty: Grid parameter variations and topology changes
Made with Genspark

## Slide 5: Technical Approach & Key Innovations
Integrated Control Framework
PSO-Optimized PID Control
Non-Linear Synergetic Control
RL-Based Sliding Mode Control
Auto-Tuned MPC
Intelligent Coordination Layer
Modular Multi-Area System Modeling
Comprehensive modeling framework integrating two-area power system dynamics with multiple FACTS devices (SVC, SSSC, UPFC, STATCOM), allowing independent control strategy evaluation.
Multi-Objective Optimization
Balanced optimization of competing objectives including frequency stability (ISE/ITAE), voltage profile, power quality (THD), and robustness against uncertainties and disturbances.
Advanced Control Integration
Unified framework incorporating PSO-optimized PID controllers, non-linear synergetic control for UPFC, reinforcement learning for sliding mode control, and auto-tuned model predictive control.
Made with Genspark
Intelligent Device Coordination
Expert decision system for optimal allocation of control tasks between devices, adaptive
response to changing grid conditions, and coordinated operation for maximum stability enhancement.

## Slide 6: PSO-Optimized PID Controllers for AGC
Particle Swarm Optimization for PID Tuning
PSO algorithm optimizes PID controller gains (Kp, Ki, Kd) by minimizing performance metrics in AGC application, providing systematic tuning without trial-
and-error.
Superior Performance
Compared to classical methods like Ziegler-Nichols, PSO-optimized PID controllers demonstrate significant improvements in dynamic response and
stability margins.
Key Metrics Improved
Optimized controllers achieve marked reductions in settling time (38.2%), peak overshoot (42.7%), and integral error indices (ISE, ITAE).
Performance Comparison
Method | ISE | ITAE | Settling (s) | Overshoot (%)
Ziegler-Nichols | 0.0152 | 0.867 | 12.4 | 8.5
PSO | 0.0094 | 0.497 | 7.6 | 4.8
GA | 0.0102 | 0.518 | 8.2 | 5.3
PSO Algorithm
Optimization
PID
Controller
Two-Area
Power System
Performance Index
ISE, ITAE, Settling Time, Overshoot
Optimized Gains
Control Signal
States
Feedback to Optimize
Kp, Ki, Kd
Key Advantages
Objective parameter optimization without empirical tuning Handles multi-area system complexity and nonlinearities Adapts to varying system conditions and disturbances Compatible with existing AGC infrastructure
Made with Genspark

## Slide 7: Nonlinear Synergetic & AI-Based Control
Advanced Control Methods Comparison
Response
Classical PI
Synergetic
RL-SMC
Auto-MPC
20
50
Time (ms)
80
Key Performance Metrics:
Settling time: -42%
THD reduction: 22% → 5%
Robustness to model errors: +6
Synergetic Control for UPFC
Non-linear controller using macro-variables and manifold-based dynamics for fast and robust damping of both local and inter-area oscillations. Outperforms PI and Lyapunov methods in settling time (38% reduction).
RL-Based Sliding Mode Control
Model-free agent-environment framework for Hybrid-STATCOM that achieves high steady-state accuracy and fast response. Reduces THD from 22.6% to 5.2% within 14ms.
Made with Genspark
Model Predictive Control (Auto-Tuned)
Real-time weighting factor adjustments in MPUC7-STATCOM control, optimizing voltage and current tracking simultaneously. Reduces
controller complexity and improves transient response.
Safe Reinforcement Learning
Constraint-aware RL for FACTS setpoint control under model errors and topology uncertainties. Maintains stability while meeting voltage and current constraints even with inaccurate system models.

## Slide 8: Coordinated FACTS Devices: Control Strategies
AC Grid 1
AC Grid 2
DC Microgrid
SVC
SSSC
D-STATCOM
Unified Control Platform
Expert Decision + RL + MPC
Bus 1
Bus 2
Bidirectional Power Flow
Series Compensation
Shunt VAR Support
Hybrid SVC/SSSC Integration
Coordinated control of SVC (shunt) and SSSC (series) devices enhances voltage stability while improving power transfer capability. SVC provides reactive compensation while SSSC modifies line impedance, with 12.9ms increase in critical clearing time.
D-STATCOM & SVC: AC-DC Grid Interface
Fast-responding D-STATCOM (≈5ms) handles initial dynamic compensation and bidirectional power flow, while slower SVC (≈40ms) manages steady-state VAR demands, achieving 2.4% THD and near-unity power factor.
Made with Genspark
Unified Control Platform
Expert Decision System (EDS) orchestrates operation modes based on load demands and system conditions. Logic-based rules determine when devices
operate in standalone, collaborative, or complementary modes.
Adaptive & Predictive Schemes
Reinforcement learning and MPC elements enable real-time adaptation to load variations and grid disturbances, with autotuned weighting factors optimizing multiple control objectives simultaneously.

## Slide 9: Simulation Results & Performance Analysis
Comparative Analysis
Evaluation across multiple control scenarios including AGC response, voltage stabilization, oscillation damping and reactive power support.
Key Performance Metrics
ISE reduced by up to 100% in optimized scenarios. Settling times improved by 38.2%. THD maintained below 2.5% for all FACTS configurations.
Key Findings
Coordinated control outperforms independent control by 44%. Synergetic control shows superior performance in asymmetric disturbances. RL-SMC maintains robust response under parameter variations.
Control Strategy | ISE | Settling Time | Overshoot | THD
Conventional PID | 0.0152 | 12.4 s | 8.5% | 3.8%
PSO-Optimized PID | 0.0094 | 7.6 s | 4.8% | 2.9%
Non-linear Synergetic | 0.0085 | 6.9 s | 3.7% | 2.4%
RL-SMC | 0.0079 | 5.8 s | 3.2% | 2.2%
Coordinated Multi-FACTS | 0.0057 | 4.2 s | 2.1% | 1.6%
Made with Genspark

## Slide 10: Future Directions & Q&A
Thank You!
Questions & Discussion
Hierarchical & Distributed Control Systems
Extending our framework to hierarchical/distributed AGC architectures to support large-scale, geographically diverse power systems with improved resilience and scalability.
Advanced AI & Deep Learning Integration
Incorporating deep learning techniques for adaptive parameter tuning, online state estimation, and predictive stability assessment to further enhance control performance.
Renewables & Storage Integration
Extending our control strategies to better support high penetration of renewable energy sources and energy storage systems, improving grid flexibility and inertial response.
Cyber-Physical Security Considerations
Developing robust defense mechanisms against potential cyber-attacks targeting FACTS control systems, ensuring secure and resilient grid operation.
Made with Genspark