## Slide 1: Load Frequency Control in Two-Area Systems with ABC-Optimized Fuzzy-PID Controllers
Enhanced Stability for Renewable Energy-Integrated Power Grids
Presenter: [Your Name]
Affiliation: [Your Institute or Organization] Date: [Presentation Date]
ABC-FLC

## Slide 2: Agenda
1 Introduction
2 Motivation & Challenges
3 System Model Overview
4 Fuzzy-PID and ABC Algorithm Concepts
5 Proposed Control Framework
6 Simulation Setup
7 Key Results & Analysis
8 Discussion & Implications
Conclusion
Q&A
Area 1
Area 2
Tie-line
G
G
Fuzzy-PID
Fuzzy-PID
ABC Optimization
SMES
Frequency Response
Made with Genspark

## Slide 3: Introduction: Why Load Frequency Control?
Fundamental for power system stability and reliable operation
Two-area systems: Multiple generation areas linked by tie- lines for power exchange
Renewable integration brings increased variability and reduced system inertia
Need for fast, robust frequency regulation to maintain grid standards
Load Change
Time
Frequency
50 Hz
Without LFC
With LFC
Area 1
Area 2
Tie-line

## Slide 4: Motivation & Challenges in Modern Grids
Rapid growth of wind and renewable sources
Conventional controllers often underperform amid disturbances and uncertainties
Requirement: Adaptive, optimal strategies for high-RES penetration
Key challenges: Uncertainty, nonlinearity, dynamic coupling, robustness
Capacity %
2010
2015 2020
Time (Years)
2025
0%
10%
20%
30%
40%
Wind Power Solar Power
System Inertia
Increased Variability
Reduced Inertia
Conventional vs. Advanced Controllers

## Slide 5: Two-Area System Model with Renewables & SMES
Each area: Conventional generator + wind farm
Tie-line enables power exchange
Mathematical blocks: Governor, turbine, generator-load, wind turbine with pitch control
SMES (Superconducting Magnetic Energy Storage) for improved frequency regulation
Area 1
Area 2
Tie-line
ΔP_tie
Governor
Turbine
Generator-Load
Governor
Turbine
Generator-Load
ABC-Fuzzy-PID
ABC-Fuzzy-PID
1/(1+sTG)
1/(1+sTT)
1/(2Hs+D)
Wind Turbine SMES
P=0.5ρAv³Cp(λ,β) Δf₁ ΔP_SMES
1/(1+sTG)
1/(1+sTT)
1/(2Hs+D)
Wind Turbine SMES
P=0.5ρAv³Cp(λ,β) Δf₂ ΔP_SMES
Made with Genspark

## Slide 6: Fuzzy-PID Controller & Artificial Bee
Colony Optimization
Fuzzy-PID Controller:
Combines adaptability of fuzzy logic with efficacy of PID control
Triangular membership functions for error and rate of change
Rule-based decision-making with 7 linguistic variables
Artificial Bee Colony (ABC) Algorithm:
Swarm-based metaheuristic inspired by honey bee foraging
Employed, onlooker, and scout bees collaborate to find optimal solution
Tunes controller parameters (Kp, Ki, Kd) to minimize ITAE
Fuzzy Membership Functions
NB
NS ZO PS PB
ABC Algorithm Optimization Process
1.0
0
Initialize Population
Employed Bees
Onlooker Bees
Scout Bees
Calculate ITAE
Fuzzy-PID
K , K , K
p i d
Optimal Parameters

## Slide 7: Proposed Control Framework & Simulation Setup
Integration of fuzzy-PID controllers (ABC-tuned) in both areas
Wind power modeled with realistic pitch mechanics
Disturbances simulated: Step changes in load for Area 1, Area 2, both
Performance metrics: ITAE, overshoot, settling time, steady-state error
ITAE = ∫0T t·|Δf1|+|Δf2|+|ΔPtie| dt
Peak Overshoot = Maximum deviation of frequency from nominal value
Settling Time = Time to reach and stay within ±2% of final value
Parameter | Area 1 | Area 2
Governor Time Constant (TG) | 0.08s | 0.08s
Turbine Time Constant (TT) | 0.3s | 0.3s
Speed Regulation (R) | 2.4 Hz/pu MW | 2.4 Hz/pu MW
Inertia Constant (H) | 5.0s | 5.0s
Damping Coefficient (D) | 0.8 pu MW/Hz | 0.8 pu MW/Hz
Tie-Line Coefficient (T12) | 0.545 pu MW/radian | 
SMES Time Constant (TDC) | 0.03s | 0.03s
Wind Turbine Gain (KWT) | 1.0 pu | 1.0 pu
Key System Parameters
Control Framework
Area 2
Tie-line
Fuzzy-PID
Fuzzy-PID
ABC Optimization
Load
Disturbance
Area 1
Load Disturb
Made with Genspark

## Slide 8: Key Results: Frequency
and Power Stability
ABC-Fuzzy-PID yields 65–80% ITAE improvement vs. classical PID in all scenarios
Significant reduction in frequency nadir, overshoot, and settling time
SMES further enhances performance stability
Performance Comparison
Controller | ITAE |  | Settling Time (s)
PID | 1.415 | 15.8 | 
Fuzzy-PID | 0.972 | 9.7 | 
ABC-Fuzzy-PID | 0.485 | 5.2 | 
Frequency Response Comparison
Frequency Deviation (Hz)
5
10
Time (s1e5conds)
20
25
0
-0.05
+0.05
PID
Fuzzy-PID
ABC-Fuzzy-PID
Tie-Line Power Exchange
Power (p.u.)
5
10
Time (s1e5conds)
20
25
0
-0.03
+0.03
PID
Fuzzy-PID
ABC-Fuzzy-PID
Made with Genspark

## Slide 9: Discussion & Implications
Robust adaptive control essential for future grids
Fuzzy-ABC methods handle nonlinearity and uncertainty better
Improved frequency stability = more resilient renewable integration
Practical value for large interconnected networks with high wind/solar share
ABC-Fuzzy-PID
Control Center
Wind
Solar
SMES
G
Conventional
Robust Operation
Renewable Integration
Frequency Stability
Grid Reliability
Stable Frequency

## Slide 10: Conclusion & Q&A
ABC-optimized Fuzzy-PID outperforms other strategies for load frequency control
Integrates seamlessly with renewables and storage
Future work: Extension to larger multi-area grids, real hardware-in-the-loop
Thank you!
Questions?
PID
Fuzzy Fuzzy-PID
Controller Strategy
ABC-Fuzzy-PID
0%
50%
75%
100%
Performance Improvement vs. Conventional PID
25%
0%
23%
46%
73%
Performance