## Slide 1: A Robust Multi-Objective Model Predictive Control Framework for Power Factor Optimization, Voltage Regulation, and THD Reduction in Renewable- Integrated Power Systems
IEEE Conference
Unified Advanced Control for Renewable-Integrated Grids
Presenter: [Your Name]
[Affiliation]
[Presentation Date]
Made with Genspark

## Slide 2: Agenda
IEEE Conference
Introduction & Motivation
1
Background & Core Principles
2
Proposed RMOMPC Framework
3
Key Results & Findings
4
Discussion & Implications
5
Challenges & Future Work
6
Conclusion & Takeaways
7
Q&A
8

## Slide 3: Introduction & Motivation
Growing integration of renewables (solar, wind) introduces new grid challenges with intermittent generation and power electronic interfaces
Power quality concerns: Voltage fluctuations, poor power factor, high THD impact grid stability and equipment lifespan
Need for unified, robust control solutions to ensure grid stability, regulatory compliance, and optimal system performance
Motivation: Simultaneous optimization of power factor, voltage regulation, and harmonic reduction under renewable uncertainty
Key Technical Challenges:
Renewable intermittency & uncertainty
Conflicting optimization objectives
Coordination of multiple control devices
Real-time computational constraints
IEEE Conference

## Slide 4: Background & Core Principles
Key components in smart grids:
FACTS Devices (STATCOM, UPFC) for voltage and power flow regulation
Model Predictive Control (MPC) for forecast-driven, constraint- aware control
Multi-objective Optimization (NSGA-II, Hybrid GA-PSO) for balancing trade-offs
Importance of real-time forecasting & adaptive systems for proactive power quality management
FACTS Devices
Static synchronous compensators and unified power flow controllers provide dynamic reactive power compensation and power flow control
Model Predictive Control
Anticipates future system states and optimizes control actions while respecting operational constraints
IEEE Conference
RMOMPC
Controller
Renewable Sources
Grid Devices
RMOMPCFoInrteegcraatsiotninFgramework
Module

## Slide 5: Proposed RMOMPC Framework
Unified control architecture integrates:
Hybrid LSTM-Wavelet for solar energy forecasting
Multi-objective MPC to co-optimize power factor, voltage, THD
Coordinated actions across multiple devices:
PV inverters with LCL filters
STATCOM for voltage support
UPFC for power flow control
Stochastic modeling handles uncertainties in:
Renewable generation variability
Load fluctuations and harmonic injection
Fig 1: Block Diagram of Proposed RMOMPC Framework
IEEE Conference
Forecasting Module
Hybrid LSTM-Wavelet
Predicted
Generation
RMOMPC Core
Multi-objective Optimization
System Model
State Information
Coordinated Control
Objective Functions
Power Factor
Voltage Regulation
THD Reduction
PV Inverters
STATCOM
Power System with Renewables
Feedback Measurements
UPFC

## Slide 6: Key Results & Findings
RMOMPC outperforms conventional controllers:
THD reduced by 17.8-27.1% Power factor consistently >0.95 Voltage deviation maintained <3%
Forecasting module performance:
Wavelet-LSTM: NRMSE 4.1%
Coefficient of Determination (R²): 0.94 48% RMSE reduction vs ARIMA
Key Achievement:
Simultaneous optimization of multiple power quality objectives while maintaining robust performance under uncertainty
Controller | Max THD (%) | Avg Power Factor | Max Voltage Dev (%)
PI | 5.00 | 0.990 | 6.2
LQR | 4.81 | 0.954 | 10.7
Fuzzy | 5.00 | 0.978 | 7.5
RMOMPC | 3.71 | 0.958 | 2.9
IEEE Conference

## Slide 7: Discussion & Implications
Coordinated, proactive RMOMPC enhances grid stability and power quality across fluctuating renewable conditions
Unified approach enables:
Predictive, fast response to disturbances through advanced forecasting
Dynamic balancing of conflicting objectives (THD, voltage, power factor)
Supports future grid paradigms through coordinated control architecture
Smart, decentralized, and resilient operation
Practical Impact:
RMOMPC reduces operational costs while extending equipment lifespan through optimized control actions and reduced stress on system components
IEEE Conference
Grid Stability
Power Quality
Renewable Integration
Resilience
RMOMPC
Framework

## Slide 8: Challenges & Future Work
Computational complexity and real-time optimization speed (hybrid GA-PSO takes ~12.5ms, complete control path ~26.5ms)
Communication and synchronization in large-scale deployments (216 kbps bandwidth, 50ms max tolerable delay)
Hardware-in-the-loop validation, decentralized peer-to-peer control architecture implementation
Enhancing resilience to cyberattacks and extreme disturbances with fail-safe mechanisms
Development Timeline:
Phase 1: FPGA-based controller prototype (6 months)
Phase 2: Distributed multi-agent implementation (12 months)
Phase 3: Resilient control with security features (18 months)
IEEE Conference
Deep learning acceleration for real-time control
HIL Validation
Hardware-in-loop testing with DSP/FPGA
Optimization Speed Decentralized Control
Peer-to-peer energy management
Grid Resilience
Cyberattack mitigation strategies

## Slide 9: Conclusion & Key Takeaways
RMOMPC delivers comprehensive power quality improvements:
Improved power quality (THD reduced by 17.8-27.1%)
Proactive operation through forecasting integration
Robust performance under renewable uncertainty
Real-world validation demonstrates practical viability:
Scalable for multi-bus systems with high renewables
Practical computation time (~26.5ms) suitable for controllers
Hierarchical implementation with 50Hz RMOMPC loop
Advanced forecasting delivers power quality improvements:
Hybrid LSTM-Wavelet provides 48% lower RMSE vs ARIMA
Coordinated control of multiple grid elements
Explicit uncertainty handling through stochastic MPC
Key Achievements
THD reduction: 17.8-27.1%
Power factor: >0.95
Voltage deviation: <3%
Forecast accuracy: 94% (R²)
Next Steps
Hardware-in-the-loop validation
Smart grid integration testing
Decentralized control implementation
Resilience to extreme events & cyber threats
Made with Gens9pa/rk10
IEEE Conference
Power Quality
Grid Stability
RMOMPC
Framework

## Slide 10: Thank You for Your Attention!
Thank You & Q&A
Questions & Discussion
youremail@ institution.edu www.researchgroup.institution.edu
+1 (555) 123-4567
This research was supported by [Funding Agency/Grant Number].
Special thanks to collaborators at [Partner Institution].
IEEE Conference
Made with Gen1s0pa/rk10