Reviewer 1

---

**1. How and why are microgrids increasing grid stability (line 31)? Please explain.**

*Response:*

Microgrids enhance grid stability in several ways:

- **Islanding Capability:** Microgrids can disconnect from the main grid during disturbances, continuing to supply power to critical loads independently.

- **Demand Response (DR) Flexibility:** Microgrids respond quickly to fluctuating energy demands, either by providing additional power or reducing consumption.

- **Integration of Renewable Energy:** Microgrids integrate renewable energy sources, reducing the need for large power plants and offering more sustainable power generation.

- **Load Balancing:** Microgrids can manage local loads effectively, preventing overloading of the main grid during peak demand.

We will include this explanation in the revised manuscript.

---

**2. In which way is the frequency managed at the microgrid level (lines 32-35)? Explain.**

*Response:*

Microgrids manage frequency through several mechanisms:

1. **Droop Control (DC):** Adjusts generator output based on frequency deviations.

2. **Battery Energy Storage Systems (BESS):** Actively manage frequency by releasing or absorbing energy.

3. **Automatic Generation Control (AGC):** Continuously monitors and adjusts generation to maintain frequency.

4. **Load Shedding:** Temporarily disconnects non-critical loads when frequency variations are too significant.

We will add this explanation to the revised manuscript along with appropriate citations【9†source】.

---

**3. What does it mean to optimize voltage regulation (line 47)?**

*Response:*

Voltage regulation refers to maintaining a stable voltage level despite varying loads. In the context of microgrids, optimizing voltage regulation involves minimizing deviations from nominal voltage to ensure the safe and efficient operation of electrical equipment. We will clarify this in the paper.

---

**4. In which way does the reduction of voltage variation improve microgrid performance (lines 48-49)?**

*Response:*

Minimizing voltage variation improves microgrid performance by:

- Enhancing power quality.

- Reducing stress on electrical equipment.

- Preventing potential outages or malfunctions caused by voltage instability.

We will explain this with additional references.

---

**5. In which way is DR reducing cost, improving losses, and improving voltage deviation (line 53-54)?**

*Response:*

- **Cost Reduction:** DR shifts load from peak to off-peak times, reducing the need for expensive, peak-demand generation.

- **Loss Reduction:** DR helps balance load distribution, reducing transmission losses.

- **Voltage Deviation Improvement:** By adjusting demand in real-time, DR ensures more stable voltage levels across the network.

We will include this detailed explanation and cite relevant references【9†source】.

---

**6. Section 1.1 is not backed by citations at all.**

*Response:*

Elaboration:
In Section 1.1, when discussing microgrids, demand response (DR), and voltage regulation, you should cite previous works or authoritative sources that have explored these topics. For example, research papers that discuss the benefits of microgrids for grid stability or studies about the role of DR in improving grid efficiency could be referenced here.

Action:

- Add citations to studies that cover microgrid operations, such as their ability to improve grid stability, enhance resilience, and optimize voltage through advanced control mechanisms.

- Cite research on demand response programs and their benefits (such as cost reduction and improving grid reliability) to substantiate your claims.

.

---

**7. Explain the phrase on lines 110-112 with a focus on the DR program.**

*Response:*

The DR program refers to strategies that adjust energy demand to match supply. These strategies include real-time pricing, load shifting, and incentive-based programs that encourage consumers to reduce or shift energy consumption during peak hours. We will elaborate on this in the revised manuscript.

---

**8. Figure 1 includes Price-based Programs (PDP) - the acronym does not fit with the words.**

*Response:*

We will correct the acronym and ensure consistency between the text and figure, referring to it as Time-Varying Retail Tariffs (TVRT) rather than PDP.

---

**9. Section 2 is not detailed enough.**

*Response:*

Elaboration:
In Section 2, the reviewer is asking for more detail on the methodology, objectives, and how voltage is controlled in a microgrid. They also want clarity on why the constraints for generators and distributed generators are different, and how the load constraints are physically meaningful.

Action:

- Objective Explanation: Clearly state that the goal is to minimize voltage deviation and ensure system stability while maximizing efficiency. Specify that the aim is to enhance the microgrid's ability to respond to varying demand and generation conditions.

- Voltage Control in Microgrids: Explain how microgrids control voltage using local generation, load shedding, and storage systems. Mention techniques like droop control and how they help balance voltage in real-time.

- Generator Constraints: Clarify that the constraints for generators (centralized and distributed) reflect their differing operational capabilities. Centralized generators may have more robust power output, while distributed generators (such as rooftop solar) are typically smaller and may fluctuate more due to weather conditions.

- Load Constraints: Elaborate that the load constraints are crucial for maintaining system balance, and the physical implications of load increase and reduction directly affect voltage levels and system stability. Define what ∆PDdup and ∆PDddown represent, relating them to real-world scenarios like peak demand and off-peak hours.

---

**10. Why is voltage deviation in the range 0.9...1.1 p.u. an issue?**

*Response:*

Elaboration:
The reviewer questions why this range is considered problematic when most electrical equipment can operate within these limits. While it’s true that equipment can tolerate voltage within this range, high deviations (e.g., near 0.9 or 1.1 p.u.) can still degrade system performance by:

- Increasing power losses.

- Reducing equipment lifespan due to stress.

- Causing inefficiencies in the operation of sensitive electrical devices.

- Leading to overheating, particularly for inductive loads, which may increase current flow when the voltage drops.

Action:

- Include an explanation that although the range is generally safe, operating near the extreme ends of this range (especially over prolonged periods) can lead to inefficiencies, additional losses, and damage to equipment.

.

---

**11. Relation (12) insufficiently explained.**

*Response:*

Elaboration:
Relation (12) represents a fitness function used in the Genetic Algorithm (GA). The fitness function is critical in optimization as it defines how well a solution performs. In this case, the reviewer is asking for a more detailed explanation of what the variables represent and how they are used in the algorithm.

Action:

- Explain that the fitness function (Relation 12) helps determine which solutions are the most optimal by comparing their performance (measured by the deviation of the objective function).

- Define fmax, fmin, fi, and Fi, explaining that these values represent the maximum, minimum, and current values of the objective function (voltage deviation in this case), and how the fitness value is calculated to guide the evolution of solutions.

.

---

**12. Check arrangement in page for (14).**

*Response:*

Elaboration:
The reviewer points out a formatting issue with Relation (14). It's likely that this equation is either misaligned or not presented clearly within the manuscript.

Action:

- Ensure that the equation is formatted properly (aligned, readable, and placed in the correct section). Also, provide an explanation of what the equation means in the context of the optimization process, particularly for normalizing the cost of the colonizing country in the ICA.

.

---

**13. Relation (15) and its quantities are not explained.**

*Response:*

Elaboration:
Relation (15) determines the number of colonies for each empire in the Imperialist Competitive Algorithm (ICA). The reviewer wants clarification on what each quantity in this relation represents.

Action:

- Explain that Pn is the normalized power of the nth colonizer, Ncol is the total number of colonies, and the relation shows how colonies are distributed among empires based on their power. The stronger the empire, the more colonies it controls.

- Ensure that the explanation clarifies the role of colonies and how they influence the optimization process within ICA.

.

---

**14. Lines 337-342: Equations? Please number and explain.**

*Response:*

Elaboration:

The reviewer is asking for clarification on whether the lines in this range are equations, and if so, they should be properly numbered and explained.

Action:

Number the equations if they are mathematical expressions, and provide clear explanations of each variable or term involved. This will make the manuscript more structured and easier to follow..

---

**15. On line 343 it is written "in the above equation...". Which equation?**

*Response:*

Elaboration:
The reviewer is confused about the phrase “the above equation” and wants to know which specific equation is being referred to.

Action:

- Clarify that the "Threshold Distance" equation is being referenced, and explain that it is used in the Imperialist Competitive Algorithm to determine when two colonies should merge based on their proximity.

.

---

**16. Why is the comparison between optimization techniques in Section 3.2?**

*Response:*

We will move the comparison to a more appropriate section (either a results section or a discussion) and ensure it's logically placed within the flow of the paper.

---

**17. Line 375 presents a figure but it is not named or numbered.**

*Response:*

We will number the figure appropriately and reference it within the text.

---

**18. Sections 3.3.1, 3.3.2, and 3.3.3 must be restructured.**

*Response:*

Elaboration:
These sections likely present different parts of the optimization process. The reviewer suggests that the titles should not contain colons, and that the descriptions of the algorithms should be more coherent and comprehensive.

Action:

- Rename the sections without colons and ensure each section provides a clear description of the process (e.g., how the GA performs local searches, how ICA manages global exploration, and how they are integrated). These sections should logically flow, giving the reader a clear understanding of how the hybrid model works.

.

---

**19. No detail of the electrical system is given in the paper.**

*Response:*

Elaboration:
The reviewer is asking for more specifics about the electrical system, such as:

- Grid data.

- Simulation software used.

- Load profiles.

- Other parameters like generation capacity or line impedance.

Action:

- Include a detailed description of the electrical system in an appendix or within the body of the manuscript. This should include the grid configuration (such as bus data, line impedance, etc.), the simulation environment (e.g., MATLAB, Simulink, or PSCAD), and how the data was handled in the simulations.

.

---

**20. The simulation results lack a proper discussion.**

*Response:*

Elaboration:
The reviewer feels that the discussion of the results is inadequate. They want to know:

- What exactly was achieved (in terms of voltage regulation or reduction of power losses).

- How the optimization impacts the voltage profile (through load or generation variations).

- Why these results are significant for microgrid operations.

Action:

- Expand the discussion by explaining how the results show improvements in voltage stability or power loss reduction. For example, you could discuss how changing load conditions (through DR) impacted the voltage profile, and why the hybrid ICA-GA method performed better than either method alone.

- Highlight the practical relevance of these results for future microgrid implementations.

.

---

**Comments on English Language:**

We will carefully review and revise the phrases and sentences flagged by the reviewer to improve clarity and ensure proper grammar is used throughout the paper.

---

Reviewer 2

---

### **1. The abstract section is not well organized. This section lacks sufficient and effective communication.**

*Elaboration:*

The abstract should clearly summarize the key points of the paper in a concise and structured manner. It should briefly mention:

- The problem being addressed (voltage deviation in microgrids).

- The methodology (Imperialist Competitive Algorithm and Genetic Algorithm for optimization).

- The results (how these methods improved the voltage profile in the microgrid).

- The significance of these findings for the future of microgrid operation.

**Action:**

- Rewrite the abstract to include the core elements: the problem, methods, results, and implications.

- Make sure the abstract is well-organized and presents a clear message about the paper's contribution to the field.

---

### **2. There are no references in the first three paragraphs of the introduction section.**

*Elaboration:*

The introduction should be supported by relevant references to establish the context and justify the need for the research. Without references, the claims made in the first three paragraphs lack backing, which weakens the introduction.

**Action:**

- Add references to relevant studies in the field of microgrids and demand response, such as those provided by the reviewer:

- Nawaz Arshad et al. "A comprehensive review on energy management demand response and coordination schemes utilization in multi-microgrids network."

- Erenoğlu Ayşe Kübra et al. "Optimal energy management system for microgrids considering energy storage demand response and renewable power generation."

- Ensure that all statements in the introduction are properly referenced to demonstrate the relevance of your work.

---

### **3. The reference format for Venkatesan et al. (2012) and others should be correct.**

*Elaboration:*

It’s important to ensure that all references are consistently formatted according to the journal’s guidelines. Inconsistent referencing can affect the professionalism of the manuscript.

**Action:**

- Review the entire manuscript to ensure that all references, including those for Venkatesan et al. (2012), are formatted according to the required citation style (e.g., IEEE, APA).

- Correct any formatting issues, such as missing elements or incorrect order of information in the references.

---

### **4. Overall, the introduction section is not well written and research gaps are not defined.**

*Elaboration:*

The introduction should clearly explain:

- The context of the study.

- What research has been done in the field of microgrid voltage regulation and demand response.

- The specific gap in the current literature that your research is addressing.

- Why your approach (using ICA and GA) is a novel and important contribution.

**Action:**

- Rewrite the introduction to provide a better flow of information and clearly define the research gaps.

- After introducing the field and current research, explain why optimizing voltage deviation with metaheuristics (like ICA and GA) is essential and how it addresses the research gap.

---

### **5. Section 3.3 is not properly written. Fig has no caption.**

*Elaboration:*

Figures in the paper must have proper captions that describe what the figure represents and how it contributes to the understanding of the content in the section.

**Action:**

- Rewrite Section 3.3 to ensure it clearly explains the process described.

- Add captions to all figures in the section, ensuring each caption is descriptive and informative.

---

### **6. A binary-coded genetic algorithm flowchart is provided without proper justification.**

*Elaboration:*

The reviewer points out that the flowchart for the binary-coded GA lacks justification for its inclusion. A flowchart should only be included if it is essential to understanding the methodology, and the choice of using a binary-coded algorithm needs to be justified.

**Action:**

- Replace the binary-coded GA flowchart with a more appropriate flowchart that reflects the methodology used in the paper.

- Provide a brief justification of why the flowchart is necessary and how it relates to the problem being solved.

---

### **7. Figure of microgrids should be provided.**

*Elaboration:*

The reviewer is suggesting that you provide a figure to better explain the microgrid system you're working with. Visual aids, such as diagrams of the microgrid or the demand response system, can help readers better understand the context of the problem.

**Action:**

- Include a schematic or figure of the microgrid, showing the components (e.g., generators, loads, storage systems) and how they interact.

- Ensure the figure is referenced in the text and is aligned with the discussion of the microgrid system.

---

### **8. The problem formulation eq(2)-eq(11) demonstrates that a deterministic approach can solve the voltage deviation minimization problem. The selection of metaheuristics is not justified.**

*Elaboration:*

The reviewer feels that a deterministic approach could solve the problem, so the use of metaheuristics like ICA and GA needs to be better justified. Metaheuristics are typically used for complex, non-linear problems where deterministic methods struggle.

**Action:**

- Justify why ICA and GA are more suitable for this problem, highlighting the complexity of the optimization and the multiple constraints involved.

- Explain that deterministic methods may not handle the scale or complexity of the problem efficiently, whereas metaheuristics offer a way to find near-optimal solutions in less time.

---

### **9. Figure of microgrids should be provided.**

*Elaboration:*

This repeats comment #7, where the reviewer requests a microgrid figure.

**Action:**

- Follow the instructions provided in the earlier comment.

---

### **10. The binary-coded genetic algorithm flowchart is provided without proper justification.**

*Elaboration:*

This is a repeat of comment #6, where the binary-coded GA flowchart was criticized.

**Action:**

- Follow the instructions provided for comment #6.

---

### **11. Selection of metaheuristics not justified.**

*Elaboration:*

This is a repeat of comment #8, which criticizes the lack of justification for using metaheuristics.

**Action:**

- Follow the instructions provided for comment #8.

---

Reviewer 3

Let's address Reviewer 3's comments in detail, providing elaboration and guidance on how to revise the manuscript accordingly:

---

### **1. Authors are invited to revise their abstract according to a standard structure.**

*Elaboration:*

The reviewer is requesting a clearer and more structured abstract. A standard abstract should cover:

- **Introduction/Problem:** What is the problem being addressed?

- **Methodology:** How is the problem solved? (mention the use of ICA, GA, and hybrid approaches).

- **Results:** What did you find? (mention the improvement in voltage stability and efficiency).

- **Conclusions/Significance:** Why does it matter? (discuss the relevance of your findings to microgrid operations).

**Action:**

- Rewrite the abstract using this structure. Ensure that each section is concise and communicates the core contributions of the paper.

---

### **2. Authors are requested to discuss in more depth the shortcomings of existing research in the literature review.**

*Elaboration:*

The reviewer feels that the literature review does not clearly identify gaps in existing research. This is important for justifying your study. You need to highlight:

- The limitations of existing optimization techniques for microgrid voltage regulation.

- Why using ICA and GA is a better approach in your specific scenario.

**Action:**

- Expand the literature review to discuss the shortcomings of other methods in addressing microgrid voltage stability, such as their computational complexity, inefficiency in dynamic systems, or inability to handle multiple objectives.

- Clearly state how your approach overcomes these issues and why it is novel and valuable.

---

### **3. Streamline the content of Section 1.1 and remove unnecessary details.**

*Elaboration:*

Section 1.1 likely contains details that do not directly contribute to the core of the article. The reviewer suggests trimming these details to make the section more concise and relevant.

**Action:**

- Go through Section 1.1 and remove any redundant or overly detailed explanations that do not directly support the main focus of the paper.

- If Equation 1 is not contributing meaningfully to the study, either delete it or replace it with more pertinent information.

---

### **4. Avoid having voltage deviations as both optimization objectives and constraints.**

*Elaboration:*

The reviewer points out that having voltage deviations as both objectives and constraints could cause confusion in defining and solving the optimization problem. Typically, optimization should have clear, distinct objectives, and constraints should limit feasible solutions, not overlap with the objectives.

**Action:**

- Clarify whether voltage deviation is a constraint or an objective. If it is both, explain how these roles differ. Alternatively, remove it from one of these roles and ensure the optimization problem is clearly defined without overlap.

---

### **5. Subscripts in the equation are confusing, and there is an error in Equation 8.**

*Elaboration:*

The reviewer is asking for clearer labeling of the subscripts in the equations, and they have noted a specific error in Equation 8.

**Action:**

- Review all equations and ensure the subscripts are clearly defined and consistently used. Correct any notation issues that could confuse the reader.

- Fix the error in Equation 8, and ensure the equation is properly aligned and formatted within the text.

---

### **6. The “Load Constraints” section lacks constraints related to reactive power and does not reflect time dependence.**

*Elaboration:*

The reviewer notes that the current load constraints do not account for reactive power, which is crucial in power systems, or time dependence, which affects dynamic systems like microgrids.

**Action:**

- Add constraints that reflect reactive power (Q) and its limits, considering the system's ability to absorb or generate reactive power.

- Introduce time-dependent constraints, considering how load changes over time and how demand response strategies must adapt to varying loads throughout the day.

---

### **7. Compare your research with the following related studies.**

*Elaboration:*

The reviewer suggests including comparisons with specific research in the literature review to strengthen the discussion of your approach.

**Action:**

- Compare your study to the following papers:

- "Two-stage robust operation of electricity-gas-heat integrated multi-energy microgrids considering heterogeneous uncertainties."

- "Distributionally Robust Multistage Dispatch With Discrete Recourse of Energy Storage Systems."

- "Risk-averse coordinated operation of a multi-energy microgrid considering voltage/var control and thermal flow: An adaptive stochastic approach."

- Highlight how your work differs from these studies, especially in terms of the methods used, the optimization approach, and the specific problem being addressed.

---

These elaborations should help guide you in revising the manuscript based on Reviewer 3's comments. Let me know if you need further assistance with implementing these changes!