Type of the Paper (Article, Review, Communication, etc.)

Agentic Artificial Intelligence for Smart Grids: A Comprehensive Review of Autonomous, Safe, and Explainable Control Frameworks

Mahmoud Kiasari and Hamed Aly *

Smart Grid and Green Power Research Laboratory, Electrical and Computer Engineering Department, 
Dalhousie University, Halifax, NS B3H 4R2, Canada; mahmoud.kiasari@dal.ca

*	Correspondence: hamed.aly@dal.ca

Abstract: Agentic artificial intelligence (AI) is emerging as a paradigm for next-generation smart grids, enabling autonomous decision-making, adaptive coordination, and resilient control in complex cyber-physical environments. Unlike traditional AI models, which are typically static predictors or offline optimizers, agentic AI systems perceive grid states, reason about goals, plan multi-step actions, and interact with operators in real time. This review presents the latest advances in agentic AI for power systems, including architectures, multi-agent control strategies, reinforcement learning frameworks, digital twin optimization, and physics-based control approaches. The synthesis is based on new literature sources to provide an aggregate of techniques that fills the gap between theoretical development and practical implementation. The main application areas studied were voltage and frequency control, power quality improvement, fault detection and self-healing, coordination of distributed energy resources, electric vehicle aggregation, demand response, and grid restoration. We examine the most effective agentic AI techniques in each domain for achieving operational goals and enhancing system reliability. A systematic evaluation is proposed based on criteria such as stability, safety, interpretability, certification readiness, and interoperability for grid codes, as well as being ready to deploy in the field. This framework is designed to help researchers and practitioners evaluate agentic AI solutions holistically and identify areas in which more research and development are needed. The analysis identifies important opportunities, such as hierarchical architectures of autonomous control, constraint-aware learning paradigms, and explainable supervisory agents, as well as challenges such as developing methodologies for formal verification, the availability of benchmark data, robustness to uncertainty, and building human-operator trust. This study aims to provide a common point of reference for scholars and grid operators alike, giving detailed information on design patterns, system architectures, and potential research directions for pursuing the implementation of agentic AI in modern power systems.

Keywords: Agentic Artificial Intelligence, Smart Grids, Multi-Agent Systems, Deep Reinforcement Learning, Digital Twins, Explainable Artificial Intelligence, Autonomous Control, Distributed Energy Resources, Power System Stability, Cyber-Physical Security

1. Introduction

The global power system is experiencing a structural transition that is the result of deep decarbonization targets, rapid electrification of transport and heating and massive integration of inverter-based renewable resources. These developments have shifted the traditional, centrally planned networks used for the transmission and distribution of electricity to highly dynamic cyber-physical "smart grids" filled with a variety of Distributed Energy Resources (DERs), prosumers, Electric Vehicles (EVs), responsive loads, and edge intelligence. Conventional methodsbased on static models, offline studies, and fixed hierarchiesstruggle to handle the resulting uncertainty, non-stationarity, and scale. Consequently, there is a wide body of literature on the use of artificial intelligence (AI) and machine learning (ML) for forecasting, controlling, stability assessment, and cyber-security for smart grids[1].

Early discussions on AI in smart grids primarily provide lists of supervised and unsupervised learning applications (e.g., load and price forecasting, state estimation, anomaly detection, and event classification) and highlight the ability of AI techniques to take advantage of high-dimensional data from advanced metering infrastructure and wide-area monitoring systems [1], [2]. Recent reviews have shown how modern ML and AI methods enable grid stability analysis, frequency and voltage control, and fault detection in converter-rich systems. The literature increasingly recognizes AI in smart grids as more than predictive models; it is an intelligence layer that continuously interacts with physical assets, networks, and markets[1].

1.1 From Static Artificial Intelligence Models To Agentic Artificial Intelligence In Smart Grids

Most AI applications in power systems today are 'model-in-the-loop' rather than 'agent in the loop'—ML models serve offline or advisory roles (forecasting, classification), whereas conventional controllers make final decisions. In contrast, agentic AI (as used in the current review) refers to AI systems that:

- Store internal states and goals;

- Observe the environment through streaming data and events

- Plan multiple-step actions over time and execute those actions autonomously in the environment (for example, set the set point, perform switching actions, and place market bids).

- Learn and adapt from feedback (possibly within a multi-agent setup).

This 'agentic' perspective already appears across several research areas: deep reinforcement learning (DRL) for control decisions, safe RL for safety-critical operations, multi-agent systems (MAS) for device cooperation, digital twin-driven optimization, and explainable AI (XAI) for interpretable operator recommendations. Recent surveys of DRL in renewable power systems and grid control have revealed the ability of DRL agents to learn policies for emergency control, voltage and frequency support, and energy management under uncertainty, thus exceeding static optimization[3], [4].

Reference [5] provides an early DRL review covering voltage control, load-frequency regulation, and microgrid energy management, highlighting DRL's ability of DRL to handle high-dimensional states and nonlinear dynamics. This work [3] reviewed reinforcement learning and deep reinforcement learning in electric power system control from the perspective of operation states (normal, preventive, emergency, and restorative) and control levels (local device, microgrid, sub-system, and wide-area control level), which is also an effective way to define RL controllers as autonomous agents embedded everywhere in the control hierarchy. The authors[1] further took this line one step further with a dedicated review on safe reinforcement learning for power system control, in which it was highlighted that constraint satisfying, risk-aware exploration, and verifiable safety guarantees are needed before any reinforcement learning can be used in real grids.

Meanwhile, the MAS community has built frameworks in which autonomous agents collaborate on protection, restoration, demand response, and distributed energy management, often with local objectives and limited communication. This paper presents an extensive survey of MAS for smart grids, discussing agent coordination mechanisms, communication topologies, and applications from microgrid management to market-based resource allocation[6]. These MAS-based approaches fit neatly into agentic AI, as they are based on sets of decision-making entities that cooperate or compete in partially observable and dynamically changing environments.

Beyond control and coordination, with the emergence of digital twins and XAI, the manner in which AI agents observe and reason about the grid is changing. This paper[7] introduced the concept of an Electric Digital Twin Grid with an architecture detailing how a virtual replica of the grid would use a continuous fusion of historical and real-time data to support its capability for self-healing, predictive maintenance, and real-time decision support. Researchers in this paper[8] offered a great overview of digital twin technology in smart grids in terms of applications such as asset management, predictive maintenance, and resilience, as well as open challenges related to their interoperability, cybersecurity, and model validation. In this context, the digital twin plays a two-fold role in the environment in which AI agents are both trained and tested and of the agent to query actively for counterfactual simulations and what-if analyses.

Simultaneously, the explosive growth in black-box deep learning across energy systems has led to rapid interest in explainability. Researchers in this work[9] reviewed explainable AI techniques dedicated to energy and power systems, where they synthesized the modalities ideally suited to model-specific and model-agnostic explainability (e.g., feature attribution, surrogate models, counterfactual explanations) and discussed the context in which these highlights are pertinent for grid operations, forecasting, and maintenance. Explainability is fundamental for agentic AI in smart grids—autonomous agents must justify their actions to operators and regulators with policies that support oversight and post-event auditing through traceable decisions and interpretable rationales.

Recent work has found that these threads are connected with broader AI and ML, for example, big language models, foundation models, digital-twin-driven optimization, and propose ways in which AI and ML can be included throughout the entire life cycle of smart grid planning, operations, and markets. This work[10] explored AI and ML for smart grids, with a special emphasis on digital twin and large language model-driven intelligence for the future grid, where intelligence will be learned by agents operating on rich digital replicas and communicating with operators using a natural language interface.

1.2 Limitations Of Existing Surveys And Motivation For This Review

Despite the rapid growth in AI/ML smart grid research, existing surveys remain fragmented, either methodologically or by application area. Reviews that span the topic of general AI/ML in smart grids provide general taxonomies of AI methods and application areas, such as forecasting, stability analysis, fault detection, and cyber-security. Nevertheless, these studies generally address RL, multi-agent systems (MAS), explainable AI (XAI), and digital twin technologies as individual subtopics instead of as part of an integrated compound agentic stack.

Survey literature devoted to reinforcement learning focuses on algorithmic characteristics, such as value-based versus policy-based techniques, model-free versus model-based distinctions, and the multiagent RL paradigm. The related application categories are likely to include frequency control, voltage control, and energy management. However, these studies rarely place RL into a larger agentic architecture that includes, for example, the use of optimization solvers or digital twins, other agents, such as MAS frameworks or market mechanisms, or integration with human-in-the-loop decision processes.

Different surveys that deal with the subjects of MAS, digital twins, and XAI provide additional insights. The ability to coordinate protocols, agent architectures, and communication standards is usually highlighted in MAS surveys. Digital twin reviews center data integration, model synchronization, and cyber-physical co-simulation. A search for interpretability techniques in energy systems is available (XAI surveys), but there are rarely discussions regarding the design of explainable agents that can both enact actions and express multiple stages of plans under safety and regulatory constraints.

No existing review:

- Offers a clear definition of "agentic AI" in the context of smart grids and maps existing techniques - RL, MAS, digital twins, XAI, and large language models (LLMs)–onto a consistent agentic architecture.

- 2. Provides a cross-cutting taxonomy that organizes contributions according to agent capabilities (perception, memory, reasoning, planning, acting, coordinating, explaining, and self-evaluation), rather than just according to the algorithmic family or application domain

- Conducts a critical analysis of safety, reliability and governance requirements for the deployment of agentic AI in safety critical grid environments, relating safe RL, formal verification, XAI and operator-in-the-loop design; and

- Identifies open research gaps by considering the integration of recent advances, such as digital twin-based simulations, federated and distributed learning, and LLM-driven orchestration in operational grid control rooms and field devices.

Addressing these gaps is essential for moving from isolated prototypes, such as simulation-only DRL controllers, to deployable, trustworthy agentic AI ecosystems spanning transmission, distribution, microgrids, and behind-the-meter resources. Table 1 provides a capability-oriented comparison of existing AI paradigms for smart grid control where it emphasizes over the gaps that motivates the need for agentic AI frameworks.

Table 1 Capability-oriented comparison of ai paradigms for smart grid control and the resulting agentic-ai gaps

| Ref. | Main Focus (Short Description) | DRL / RL for Control | Safe RL | MAS (Multi-Agent Systems) | Digital Twin (DT) | XAI (Explainable AI) | LLM / Foundation Models | Highlights Agentic-AI Gaps |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [1], [2] | Safe RL for power system control | ✓ | ✓ |  |  |  |  | ✓ |
| [3] | DRL for modern renewable power system control | ✓ |  |  |  |  |  | ✓ |
| [4] | DRL overview for power system applications | ✓ |  |  |  |  |  | ✓ |
| [5] | RL/DRL for power system control – control levels & states | ✓ |  |  |  |  |  | ✓ |
| [6] | MAS survey for smart grids (coordination, communication) |  |  | ✓ |  |  |  | ✓ |
| [7] | Electric Digital Twin Grid – architecture and functions |  |  |  | ✓ |  |  | ✓ |
| [8] | DT applications in smart grids (assets, resilience, challenges) |  |  |  | ✓ |  |  | ✓ |
| [9] | XAI techniques for energy and power systems |  |  |  |  | ✓ |  | ✓ |
| [10] | AI/ML for smart grids with DT and LLM-driven intelligence |  |  |  | ✓ |  | ✓ | ✓ |

1.3 Scope and Contributions

This review focuses on agentic AI for smart grids as an ensemble of Artificial Intelligence (AI) methods that provide grid-connected software and hardware entities with autonomy, adaptability, and concerted activities. Agents are considered at several levels in the hierarchy (device, microgrid, system, and market levels), and they are characterized based on the function they play, including:

- Perception and modelling of the grid state via the flow of data and digital twin representations.

- Learning and planning through reinforcement learning, deep reinforcement learning, and other forms of sequential decision making.

- Coordination through MAS frameworks, distributed optimization, and negotiation protocols

- Interaction with human operators using interpretable policies and tools of XAI; - Compliance with safety, reliability, and regulatory constraints, including cyber security standards and grid code compliance;

The main contributions of this review are as follows:

- Conceptual Framework: We propose a formalized agentic AI framework for smart grids, which decomposes agent behavior into the layers of perception, cognition (reasoning and planning), action, coordination, and explanation, and we attempt to map existing AI techniques and architectures from the AI literature onto these layers.

- Integrated Taxonomy: We propose a taxonomy of the types of agentic AI applications in smart grids that breaks through application silos (e.g., stabilization, protection agents, flexibility aggregation agents, digital twin orchestration agent) based on conventional methodologies and organizes question (i) based on agent role in the smart grid community (e.g., protection agent, flexibility aggregation agent, digital twin orchestration agent).

- Critical Analysis of Enabling Technologies: We distil the state of the art on deep reinforcement learning, safe reinforcement learning, multi-agent reinforcement learning, digital twins, and explainable AI as they relate to agentic smart grid applications, elaborating on synergistic patterns, for example, DRL agents trained in digital twins, coordinated by MAS mechanisms, and validated using feedback from XAI.

- Deployment and Governance Solutions: We specify the practical challenges to the real-world deployment of agentic AI in smart grids in terms of data quality, simulation-to-real transfer, safety issues and robustness, human/agent interaction in control rooms, and regulatory and ethical issues.

- Research Agenda: We identify promising paths for future inquiry, such as LLM-assisted grid operations, hybrid model-based/model-free agent architectures, quantum-inspired optimization for agentic decision-making, and establishing standardized evaluation benchmarks for agentic AI in smart grids.

Figure 1 summarizes the proposed ‘agentic AI layer’ that integrates reinforcement learning, digital twins, XAI and LLMs to support critical grid functions such as protection, flexibility, markets and cyber-security

Figure 1 The new intelligence layer: agentic ai in smart grids

1.4 Organization of the Paper

The remainder of this manuscript is structured as follows. Section II formalizes agentic AI in smart grid paradigms and lays down its conceptual foundations, such as the perception-cognition-planning-action-explanation cycle, grading the autonomy of the AI, and mapping agent roles to the temporal scales and temporal strata of control of the power system. Section III provides an overview of the fundamental enabling technologies underlying agentic AI for grid applications, including reinforcement learning and deep reinforcement learning, multi-agent reinforcement learning, safe reinforcement learning, digital twin-enabled learning, explainable AI, and the new role of large language models as orchestration and human interface layers based on the value of big data. Section IV synthesizes system weakening agentic architectures and presents, in terms of applications taxonomy, a functional agent archetype taxonomy organized by the different functions that different agent types perform (stability and protection, flexibility and DER/EMS, transactive markets, resilience and restoration, cybersecurity, and digital twin orchestration), showing the patterns in cross layer integration. Section V provides an agenda of open challenges and research directions that are emphasized in benchmarking, safety-first deployment pipelines, hybrid physics-guided agents, and human-AI collaboration. Section VI concludes by pulling together key insights and discussing limitations of the present evidence base as well as adding a practical path towards trustworthy deployable agentic ecosystems for smart grids.

2. Conceptual Foundations of Agentic AI for Smart Grids

Traditional AI literature defines an autonomous agent as a system embedded in an environment that perceives states and takes action to satisfy goals, demonstrating autonomy and persistence. Franklin and Graesser further distinguish agents from traditional programs by requiring continuous operation, situated action, self-initiated activity, and goal-directed behavior [11]. Wooldridge formalizes the idea of intelligent agents as autonomous, social, reactive, and proactive agents, which emphasize explicit reasoning about beliefs, desires, and intentions[12].

Building on these premises, a new term, "agentic AI,” is used in smart grid-related applications to refer to AI-enabled controllers that:

- Maintain an internal representation of goals, constraints, and system states, including a record of previous observations.

- Interact with the cyber-physical grid environment via sensors, communication channels, and actuators (switches, tap changers, set-points, bids, protection settings);

- Execute multi-step decision processes over extended horizons (planning, scheduling, coordination) and not just one shot predictions; and

- Adapt their policies over time based on feedback characterized by learning from feedback, simulations, or digital twin experimentation.

This definition goes beyond 'using ML in power systems'; it excludes static advisory models that only produce forecasts or classifications while leaving control logic to classical controllers. Instead, agentic AI systems represent decision-making entities embedded at multiple levels of the grid hierarchy (e.g., at the level of converter, microgrid energy manager, flexibility aggregator, market bidding agent, etc.) that are endowed with the four capabilities listed above.

In reinforcement learning (RL) terms, an agentic AI system implements a policy π(at∣ht)mapping its interaction history ht(observations, actions, rewards) to actions atthat affect the grid environment [13], [14]. However, unlike the idealized Markov decision processes in canonical RL formulations, grid agents must respect hard safety constraints, operate under partial observability, and coordinate with human operators and other agents to achieve their objectives. Therefore, agentic AI in smart grids should be understood as a constrained, multi-agent, cyber-physical instantiation of the general autonomous agent paradigm [11], [12].

2.1 Cognitive Architecture: Perception–Cognition–Planning–Action–Explanation Loop

To reason systematically about agentic AI in smart grids, we consider the viewpoint of cognitive architecture. Cognitive architectures from artificial intelligence and cognitive science describe these sensing, memory, reasoning, and action choices, as well as their interaction in a returning loop [11], [12]. Recent work on language-based AI agents formalizes such a loop per memory module, an internal/external action space, and a decision procedure that plans, selects, and executes an action repeatedly while updating the internal state [15]. We adopt this perspective and assume that the agent in a grid works in a so-called perception-cognition-planning-action-explanation circle:

- Perception And State Estimation: The agent receives raw measurements and messages (e.g., phasor measurements, SCADA data, AMI data, forecasts, market prices, and cyber telemetry and intrusion alarms) and constitutes them into a structured internal state with state estimation, filtering, and feature extraction. This stage takes advantage of classical observers, Kalman or particle filters, or learned encoders, and has to deal with noise, latency, and missing data [15], [16].

- Cognition (deliberation point of beliefs, aims, and constraints): The agent combines what it perceives to be the current state with its prior knowledge [for example, network models, device limits, contractual obligations, operational policies] and compares the current situation with its goals [ex., stability, cost, emissions, comfort, and reliability]. This reasoning may combine optimization solvers, rule based inference, model-based reinforcement learning or symbolic representations (safety rules, grid codes etc.) [13], [17].

- Planning and Decision Making: Given its cognitive state, making multi-step planning decisions (selecting actions and contingencies over a horizon (e.g., schedule reserves, reconfiguring feeders, plan electric vehicle charging) considering stochastic dynamics and interactions with other agents). Methods vary from model predictive control to deep reinforcement learning and model-based reinforcement learning that combines planning and learning[6], [14]

- Execution and Actuation of an Action: The agent commits to actions within its authority (e.g., issuing control commands to FACTS devices, modifying DER set points, making market bids, and initiating remedial action schemes). In cyber-physical systems, this means strict interfacing with protection schemes, communication protocols (IEC 61850, DNP3, IEC 60870-5-104), and operator-authorization layers[16], [18].

- Explanation and Human Interaction: Grid agents, unlike generic AI, must explain their decisions to operators, regulators, and auditors. Explainable artificial intelligence and interpretable surrogate models are needed to transform internal policies and value functions into their human-readable equivalents of rationales, counterfactuals, and sensitivity analyses [19]. Explanatory channels are therefore a separate "output modality" of the architecture, which allows for human current or post-event metadata analysis.

- Learning and Assessing Oneself: Feedback based on the environment (i.e., rewards, constraint violations, operator overrides, KPI violations) is used to update the inner models and policies. This can occur online (safe adaptive control) or offline using digital twin simulations[16], [17]. Self-awareness includes monitoring performance, spotting distribution changes, and triggering concrete fallback modes when confidence is below a predefined percentage. As illustrated in Figure 2, we distinguish traditional static AI pipelines, where models only provide advisory outputs, from agentic systems that continuously perceive, reason, and act within the grid’s operational loop.

Figure 2 The paradigm shift: from static models to active agents

Sumers et al. demonstrated that language-based AI agent-style cognitive architectures, originally proposed for language agents, naturally extend to memory-centric, decision-loop-based designs, where working memory, long-term memory, and external actions interact via a structured decision procedure [15]. By analogy, we argue that agentic grid controllers should be specified in terms of explicit modules for perception, memory, planning, action, and explanation, instead of monolithic “black-box controllers.” Figure 3 details the internal cognitive loop of a grid agent, highlighting how perception and state estimation feed cognition, planning, execution via FACTS/DER commands, and post hoc explanation and self-evaluation.

Figure 3 The agent’s cognitive loop

2.2 Degrees of Autonomy in the Grid Operation

"In smart grids, agentic AI does not imply absolute autonomy. Instead, autonomy exists on a spectrum and emerges from agent-human interaction. Inspired by known concepts of autonomous agents[11], [20] and autonomy taxonomies in control and robotics [16], we define the following levels of autonomy for grid agents in the following hierarchical order:

- Level 0 – Advisory analytics:  AI provides predictions, classifications, or prescriptive advice (load forecasts, contingency rankings, anomaly detection), but human operators or traditional controllers retain all control authority. This level is consistent with the current implementation of machine learning in power systems. In our framework, the AI does not act in an agentic manner because it does not have any direct authority to make things happen.

- Level 1 - Operator in the loop decision support: For the provision of such an AI agent, explicit control actions or policy proposals are generated (such as remedial action schemes, reconfiguration plans, and optimal set-points). Operators then review, alter, and accept or reject these proposals. The agent executes an internal cycle of policy and planning but has no direct capacity for autonomous actuation; this arrangement is equivalent to "shared control" paradigms in robotics.

- Level 2 - Constrained autonomy with supervision: The agent works autonomously bounded within predefined safety envelopes (e.g., voltage and reactive power control bounds, balance of local microgrid, and electric vehicle charging coordination), while recording explanatory data and allowing overrides by an operator. Techniques such as safe reinforcement learning, formal verification, and runtime monitoring are important for ensuring that learned policies comply with grid regulations and protection constraints [6], [16].

- Level 3 - Coordinate Autonomous operation: Multiple agents make stand-alone decisions and communicate with each other (e.g., distributed voltage/VAR control, peer-to-peer microgrid balancing, and autonomous restoration schemes) relying on human supervision, which is primarily involved in policies and governance. Multi-agent system frameworks and distributed optimization techniques are the dominant organizational paradigms [17], [21].

- Level 4 - Strategic autonomy overseen by humans: Agentic AI systems are engaged in strategic system planning, long-term asset management, and market design through simulations, scenario analysis, and digital twin experiments. These systems produce possible solutions that are later evaluated and approved by humans [18], [22]. In this context, autonomy means not so much activating real-time but rather independent exploration of the policy and configuration space against institutional constraints.

These stratifications provide a conceptual framework to categorize deployments in existence and those planned in the future: most deep reinforcement learning-based protection and control prototypes are working at Level 1-2 (in simulation or hard-wired hardware-in-the-loop), while MAS-based microgrid coordination and autonomous restoration activities aim at Level 3 [17], [21]. The main contribution of the current review is to scrutinize how agentic AI technologies, namely deep reinforcement learning, safe reinforcement learning, multi-agent systems, digital twins, and explainable AI, could help safely move to higher levels of autonomy without losing reliability. To organize the deployment spectrum, Figure 4 provides a structured view of increasing autonomy levels, ranging from advisory analytics to fully coordinated autonomous operations.

Figure 4 A spectrum of autonomy for grid operations

2.3 Time Scales and Control Layers of Agentic AI

Power systems exhibit multiscale multilayered control systems. Classical hierarchical control for microgrids and more general power systems separates loops of inner (ms) level converters, primary/secondary (m control) level, frequency, voltage control (ten ms to classic seconds), from tertiary and economic dispatch (min to hour) [16], [23]and long term (planning) (day to years) control. We provide a schematic mapping of agentic AI capabilities on these temporal strata:

- Fast dynamics (sub-cycle to seconds): Inner converter control loops, FACTS devices, and protection mechanisms require deterministic and short response times. Accordingly, agentic AI is usually combined with parameterized policies distilled from offline deep reinforcement learning or optimization with live adaptation, which is severely limited by hard real-time constraints [16]. Examples include the DRL-trained damping controller or adaptive relay setting that remains static while humans are in service and will only be updated post-validation.

- Operational control (seconds–tens of minutes): Secondary and voltage/VAR optimization, congestion management, and microgrid balancing occur on much longer timescales and are better suited for agentic intervention of artificial intelligence. Hierarchical control studies seem to indicate that optimization- and multi-agent-based secondary/tertiary controllers are increasingly proposed to coordinate the use of distributed energy resources and storage [16], [23]. Agentic AI in this layer is capable of continuous replanning, reallocation of reserves, and corrective switching, and it enforces constraints very rigidly.

- Market scheduling horizons (tens of minutes to days): Unit commitment, economic dispatch, scheduling of demand response, and aggregation of flexibility take place over timescales that are relevant to the markets being adjusted (say 5-60 minutes). MAS-based aggregators and reinforcement learning-driven bidding agents democratize within these intervals to maximize economic and reliability goals in the face of uncertain generation and demand from renewable sources [17], [21], [24]. Digital twin simulations are essential for evaluating the long-term performance and strategy of a digital twin [18].

- Planning and investment time scales (months to decades): The uses of grid expansion, asset health management, and climate-resilience planning occur over a long timeframe. Here, agentic AI is used for simulation-based exploration and testing of scenarios, as opposed to real-time control. Agent-based models and multi-agent systems are usefully employed to investigate emergence in multi-energy systems and market–ecosystem interactions [19], [20].

Figure 5 aligns candidate agent roles with inherent power system time scales, distinguishing fast protection, operational EMS, congestion, market-bidding, and long-term planning agents.

Figure 5 Aligning agentic control with power system time scales

Yamashita et al. and Li et al. have demonstrated how hierarchical control schemes in microgrids are explicit in their decomposition of tasks in terms of time scale and authority which provides a natural framework for embedding agentic modules of AI [22], [25]. This study [26] further argues that multi-energy system planning and operation increasingly embrace a hierarchical and distributed control structure, where local agents optimize subsystem behaviors with respect to system-level constraints.

This view of time and hierarchy is key to the deployment of agentic AI:

- It describes where learning and adaptation can be safely introduced, usually in slower layers with augmented human supervision and simulation to back them up.

- It clarifies the interfaces between traditional controllers of set points or policies and AI agents, where the outputs of AI (policies or set points) are executed by lower-level deterministic controllers.

- It forms the basis for a principled mapping between agent roles (e.g., protection, microgrid dispatch, and market bidding agents) and time-scale responsibilities (protection, primary/secondary control, EMS, markets) and associated accountability.

2.4 Organizational Scope and Multi-Agent Ecosystems

Smart grids are multi-stakeholder and distributed systems by their nature. Prosumers, DSOs/TSOs, aggregators, microgrid operators, market operators, regulators, and service providers interact under heterogeneous objectives and constraints. Multi-agent Systems (MAS) provide a natural framework for the modelling and implementation of such ecosystems[17], [21].

Recent surveys synthesize over a decade of MAS research in the smart grid area. Mahela et al. investigated architectures for MAS-based control of smart grids and highlighted the coordination protocol, communication topology, and application domains of protection, restoration, demand response, and market-based resource allocation [19]. Izmirlioglu et al. provided an up-to-date survey of MASs for smart grids by reporting the diversity of agent types (e.g., DER agent, prosumer agent, market agent, and grid operator agent), communication patterns, and decision-making mechanisms employed in practice [6].

Complementary studies have focused on application-specific MAS designs.

- Olorunfemi et al. proposed a MAS framework for demand response management, where household, aggregator, and grid agents coordinate via negotiation protocols to balance cost, comfort, and grid constraints [18].

- Yao et al. review agent-based methods in multi-energy systems (electricity, heat, gas), showing how decentralized agents representing physical assets and actors can capture complex interdependencies and facilitate local and global optimization [19].

These studies converge on several organizational patterns relevant to agentic AI in smart grids:

- Role-based agent decomposition: Agents include protection, voltage control, market bidding, microgrid energy managers, flexibility aggregation, and digital twin orchestration agents. Each role corresponds to specific observables, actuators, time scales, and performance metrics, which align naturally with the conceptual framework in Section II-B and the autonomy levels in Section II-C.

- Multi-agent human and artificial intelligence systems: Labedzki argues that future multi-agent ecosystems will be hybrid, containing both human and artificial agents with complementary strengths [21]. In power systems, this is already the case: human operators and dispatchers operate as agents with high-level authority, with automated controllers performing tasks with local, fast time scales. Agentic AI is a solution to this hybrid MAS, with additional cognitive agents that can explain the decisions made, negotiate with humans and other agents, and learn over time.

- Digital twin-mediated-- ecosystems: Shan et al. continue with their point: Multi-actor energy system operation increasingly relies on digital twins that enable what-if evaluation and policy validation prior to deployment[22]. In such ecosystems, digital twins act as agents: they respond to queries, execute what-if scenarios, and feed back (in the form of KPIs and constraint violation statistics) on the policies of the agents performing the right action.

- Governance and norm design & protocol design: MAS literature emphasizes that agent behavior must be controlled in terms of interaction protocols, norms, and rules [ institutional] [6], [17], [21]. In the context of a smart grid, this translates to grid codes, rules for the markets, data sharing agreements, and cyber security policies that limit the degree of agentic A.I. that can be used and how it is allowed to interact. Designing governance layers for agentic AI, such as specifying authorization boundaries, escalation paths, audit mechanisms, and liability frameworks, is therefore as important as designing the learning algorithms themselves.

In summary, the organizational scope of agentic AI spans local device controllers to system-level orchestrators and market participants, all embedded within hybrid human–AI MAS structured by digital twins and institutional constraints. Chapter III of the review (not yet written) will map specific enabling technologies—DRL, safe RL, MARL, digital twins, XAI, and LLM-based orchestration—onto this conceptual landscape.

3. Core Technologies Underpinning Agentic AI in Smart Grids

3.1 Reinforcement Learning and Deep Reinforcement Learning for Grid Control

Reinforcement learning (RL), the canonical technique for sequential decision-making under uncertainty, naturally serves as the backbone of agentic AI in smart grids. An RL agent interacts with an environment that is modelled as a Markov decision process (MDP) and learns a policy mapping states (or histories) to actions to maximize the expected cumulative reward. Classical RL algorithms, such as value-based algorithms (Q-learning), policy gradients, and architectures such as actor-critic, are standard in control and optimization [27], [28].

In the power and energy sectors, RL has evolved from a niche topic to a mainstream approach. Cao et al. provided a comprehensive review of RL and DRL applications in power flow control, voltage and frequency regulation, economic dispatch, unit commitment, energy storage scheduling, demand response, fault detection, and load forecasting. Bernadić et al. focused specifically on RL for power system control and optimization, highlighting concrete implementations of RL-based tap changer control and techno-economic optimization of storage in microgrids[29]. Waghmare et al. systematically reviewed RL-based control strategies for microgrid energy management and documented their advantages over classical heuristics for handling uncertainties and high-dimensional state spaces[30]. Li et al. synthesized DRL applications in renewable-rich power systems and showed that DRL can learn emergency control and small-signal stabilizing policies that outperform static optimization under fast-changing operating conditions[31].

From an agentic-AI standpoint, these developments imply the following:

- Policy-based learning modules based on RL/DRL can be deployed as the "decision core" of local agents (e.g., inverter controllers, microgrid energy managers, and storage schedulers) that continuously map perceived states to actions.

- Actor-critic and value-based DRL architectures that have already been used for continuous control (i.e., DDPG, PPO, SAC) can be embedded as inner cognitive components in agent architectures with surrounding layers enforcing safety, explanation, and coordination.

- The literature is now filled with a sufficient number of case studies in favor of pattern language as RL for real-time control of fast dynamics (voltage, frequency, damping) and DRL for higher-dimensional operational problems (EMS, congestion management, multiperiod scheduling).

However, most RL/DRL deployments remain confined to simulations or hardware-in-the-loop testbeds, with little attention to long-term stability, grid code compliance, and explainability under real disturbances, which are critical requirements for safety-critical deployment.

3.2 Multi-Agential Reinforcement Layout of Grid Coordination

Many of the multiple tasks associated with a smart grid are multi-agent by nature: between different stakeholders (TSO/DSO, aggregators, microgrids, prosumers, protection devices) who operate with limited information and at best, conflicting goals. Multi-agent reinforcement learning (MARL) adapts RL to these environments through an improved approach of projecting the environment as an opaque game with numerous learning agents. Recent MARL surveys have described important paradigms such as independent learning, centralized training with decentralized execution (CTDE), and joint action learners, and have related MARL to game theory and distributed optimization. Several strands have developed in the area of power:

Foundational MARL frameworks for power systems Biagioni et al. proposed PowerGrid world, a modular MARL testbed for power system operation, allowing for realistic operation of power system dynamics and multiple agents with interactions in the context of grid constraints. Jain et al. applied MARL in power system operation and control, where decentralized agents can coordinate to handle frequency, voltage, and congestion, and analyze the stability properties[32].

MARL for resource allocation and EMS MARL is used in the context of distributed energy management, which allows various generator, storage, and prosumer agents to coordinate to meet power balance requirements, minimize costs, and adhere to network constraints.

General MARL challenges relevant to grids in recent surveys focusing on key obstacles, non-stationarity, credit assignment, scalability, and partial observability are mentioned, all of which are acutely present in large-scale power systems.

From the agentic-AI perspective, MARL can offer:

- A formal agent design and analysis framework for ecosystems of agents, including protection, efficiency control, and flexibility aggregation agents, with each agent being trained to maximize local goals and provide system-level performance.

- The natural path to Level 3 autonomy (coordinated autonomous operation) as a concept stipulated in anti-isolated anti-pathological forms in Section II: in the agents act together or compete according to specific protocols and same-rewards instead of acting independently.

However, when it comes to power systems, the present MARL literature does not pay much attention to the combination of digital twins, safety verification, and explanation; these cross-cutting requirements are exactly what agentic AI infrastructure aims to structure. Figure 6 depicts the smart grid as a multi-agent ecosystem, where prosumer, DER, microgrid, market, cyber-security, and digital-twin agents interact over market signals, control signals, and data streams.

Figure 6 The smart grid as a multi-agent ecosystem

3.3 Safe Reinforcement Learning and Constrained Decision-Making

A fundamental obstacle to RL-based agentic controllers is safety. Standard RL relies on trial-and-error exploration, which is unacceptable for power grids, where constraint violations cause blackouts or equipment damage. Safe reinforcement learning (Safe RL) is an approach that attempts to apply safety constraints to learning and action, commonly through constrained MDPs, Lyapunov-style tactics, shielding, or risk-sensitive objectives.

Bui et al. give a critical review of Safe RL strategies for the case of power system control specifically, where strategies like: safety layers that project actions back into a feasible region, Lyapunov-based critics that ensure stability, and model-based Safe RL schemes that add system theory constraints to the learning process are catalogued. They analyzed that although it is possible to impose restrictions on frequency, voltage, and power flows with ease in simulation by Safe RL, there are few measures that are robust under the uncertainty in the model, as well as in models that are disturbed by cyber-physical factors[33].

General RL reviews for power and energy systems also discuss the fact that it requires RL's be clearly interfaced with conventional protection and control, fallback rules, guard rails, and runtime monitors to ensure safe deployment. Recent research on explainability in DRL only reinforces the point that safety and interpretability go hand in hand; operators must receive not only guarantees of constraint satisfaction but also understandable rationales for an agent to take a certain action in an abnormal situation.

From an agentic perspective, Safe RL offers a safety-aware decision core for agents operating at Level 2-3 autonomy. The key design patterns include:

- Combining DRL and control theorem safety filters (e.g., control barrier functions) that override unsafe actions.

- Stress-testing policies under different contingencies spending on digital twins (Section III-D) to pre-train the strategies.

- Human-in-the-loop portfolios Embedding the Safe RL agents with human-in-the-loop protocols defining operator overrides as negative feedback and adjustments to refine policies.

3.4 Digital Twin–Enabled Learning and Control

Digital twins (DTs) are sensitive full-fidelity digital models of physical systems or objects that are synchronized with real-time data and permit simulation, diagnostics, and optimization within a risk-safe context. In the power sector, DTs have been proposed for transmission networks, distribution systems, substations, and microgrids for predictive maintenance, outage management, and resilience analysis. In the case of agentic AI, the DTs do not simply represent passive models; they are examples of training environments as well as partners in crime.

Hua et al. proposed a digital twin-based RL framework in which the DT of a distribution system operator's network is adopted to train RL agent(s) for configuration and operation decisions, claiming improvements in predictability, responsiveness, and automation compared to static policies[34].

Tubeuf et al. Demonstration of transfer learning on a flexible energy systems DT: RL agents are trained on synthetic or historical data of a DT; however, they are transferred and fine-tuned in the actual system, thus enabling the mitigation of unsafe exploring processes in a real grid[35].

Seyedi et al. created a DT-enabled RL controller for DC microgrids by exploiting the DT to explain sim-to-real annoyances and test policies under uncommon fault and disturbance conditions[36].

In general, in addition to particular applications of power models, a more recent systemic review of RL-based DT frameworks bears out common meta-designs: environment modeling through physics-based models or data-driven models, collaboration with RL loops (state encoding, reward-shaping, domain randomization), and mechanisms of online synchronization between the DT and physical system.

DTs can perform at least three functions in an agentic AI stack:

- Simulation sandbox: Agents learn and stress-test their policies using DTs before deployment, and Safe RL constraints and rare-event scenarios are explored here.

- Real-time counterpart: DTs run in parallel to physical systems, providing counterfactual analyses, sensitivity studies, and predicted consequences of candidate actions that agents can query during the planning phase.

- Cross-agent Coordination Medium: DTs can host multi-agent simulations in which protection agents, flexibility aggregators, and market agents interact, enabling the discovery and validation of higher-level coordination rules.

3.5 Explanability and Interpretability of Agentic Control Loops

Agentic artificial intelligence used as part of smart grid systems must be auditable and accountable. Operators, regulators, and manufacturers need to understand the rationale behind an agent's chosen action, the variables on which this decision was based, and the confidence the agent has expressed. These requirements are part of the field of explainable artificial intelligence (XAI) or interpretable modelling.

Machlev and colleagues report among one of the first comprehensive methods reviews of XAI techniques used in energy and power systems; introducing, in a systematic way, feature-attribution methods (such as SHAP and LIME), methods of surrogate modelling as well as counterfactual explanations that have been used in forecasting applications, fault detections, and operational support[9]. Shadi et al. assessed XAI techniques for energy system maintenance, which makes post hoc explanations useful in supporting predictive maintenance and condition monitoring in Internet of Things-enabled energy frameworks[37]. Sazib et al. suggested a domain-specific XAI potential with respect to renewable energy systems and argued for the use of standardized benchmarks and performance indicators to provide the ability to compare explanations and calculate their impact on operator confidence[38].

With respect to deep reinforcement learning (DRL), Hickling et al. provided an extensive overview of the landscape of methods for explainability, which includes methods for extracting symbolic policies, saliency mapping, attention-based visualization, and methods for causal analysis to interpret traditionally opaque DRL policies[39]. Taghian et al. extrapolated this discussion to industrial control and safety-critical settings, which demand the explainability and certifiability of DRL policies[40].

In the context of agentic AI deployment in smart grids, XAI must go beyond model introspection and encompass the following:

- Rationalization of a particular action, such as the shedding of a particular load, switching of a particular transmission line, and adjustment of a particular tap position of a transformer, relative to alternatives.

- The identification of the most influential signals, including voltage levels, loading indices, contingency probabilities, and cybersecurity alerts, aided in the decision-making process.

- The expected behavior of the policy under counter-factual scenarios, for example, we might like to see how the policy would have reacted if the output from a wind farm had been 20 % lower.

Such explanations should be integrated into the agent's control loop via a separate explanatory module that manifests human-readable rationales, synthesizes post-event reports, and enables root-cause analysis. As a result, XAI forms a central facilitator of Level-1 and Level-2 autonomy, with the inclusion of approval and supervision by the operators involved.

3.6 Large Language Models and Foundation Models as Orchestrators

The more recent direction of artificial intelligence research has proposed the presence of large language models (LLM) and other foundation models that exhibit strong performance in the domains of textual reasoning, code generation, and coordinating tools. Within the scope of power systems, such models appear increasingly not as direct low-level controllers but as high-level orchestrators and interfaces in agentic architectures.

Majumder et al. analyzed the readiness of LLMs to act as an interface between human stakeholders and the electric energy sector, which defines possibilities for knowledge retrieval, policy interpretation, incident reporting, and operator training, while also highlighting limitations such as hallucinations, domain mismatch, and data governance limitations. A recent survey on the application of LLMs to smart grids seeks applications, including questions of grid information in natural language, automatically generating standard operating procedures, and linking heterogeneous AI providers with tool-calling systems[41].

Concurrently, Yao et al. surveyed "AI large models for power systems," underlining that foundation models such as LLMs and large time series models can exist as meta models with the ability to adapt to a range of tasks such as forecasting, anomaly detection, and decision support with limited task-specific data[42]. Xiang et al. presented an LLM-based monitoring system that aims to mitigate the functioning of the system, with the concept that an LLM accepts a dispatch description, processes real-time information about the power flow within the system, and provides an objective safety score, thereby connecting textual operating instructions and the state of the system in a numerical form[43]. In addition, a growing body of literature shows both externally invoking simulators and optimization-based agents that use LLM-based agents to assist in grid planning and operational decision-making.

Within a stack of agentic AI algorithms, LLMs and foundation models may serve several functions.

- Cognitive front end: A natural language interface that converts operator intents, regulatory directives, and incident reporting into lower-level objectives (goals and constraints) for lower-level reinforcement learning (RL) or model predictive control (MPC) controllers.

- Planning and Orchestration Layer: A high-level agent that breaks down tasks, chooses specialized models (e.g., DRL controllers, optimal power flow solvers, and digital twin simulations), and assembles the outputs of these models into recommendations.

- Knowledge and Governance Hub: A permanent collection of incidents, policies, and lessons learned, which can produce explanations, check whether policies and grid codes are obeyed, and assist post-event investigations;

However, foundation models bring concomitant risks, such as opaque training data, formal verification challenges, vulnerability to adversarial prompts, and problems in meeting the high demands of latency and determinism necessary for their application in real-time control. These limitations suggest that, in the short term, LLMs can be enabled as decision-aiding and planning agents with defensive guardrails and not as direct control agents of physical actuators.

3.7 Synthesis

Taken together, RL/DRL, MARL, Safe RL, digital twins, XAI, and foundation models constitute the core technological pillars of agentic AI in smart grids.

- RL/DRL provides adaptive decision policies for individual agents.

- MARL enables coordinated behavior among distributed controllers and stakeholders.

- Safe RL and XAI provide the necessary safety and transparency layers for deployment in critical infrastructure.

- Digital twins offer a sandbox and counterpart for training, validation, and what-if analyses.

- LLMs and large models act as high-level orchestrators and human-facing interfaces, respectively.

Therefore, the next chapter should examine system-level architectures that combine these ingredients into coherent agentic AI stacks, showing how layers of perception, cognition, planning, action, coordination, and explanation can be instantiated in concrete smart grid applications (stability, protection, flexibility aggregation, and market participation) while satisfying safety and governance requirements. Table 2 summarizes the main agent archetypes discussed in this subsection, linking each role to its objectives, actuators, characteristic time scales and dominant enabling technologies

Table 2 Representative agent archetypes in smart grids, with objectives, time scales and dominant enabling technologies

| Agent archetype | Primary objectives | Main actuators / interactions | Dominant time scale | Dominant enabling technologies |
| --- | --- | --- | --- | --- |
| Stability & protection agent | Maintain voltage/frequency limits; detect and clear faults quickly. | Relays, FACTS, inverter controls, tap changers. | Sub-cycle to seconds (protection / fast control) | Safe-RL, DRL (distilled policies), classical control + XAI. |
| Flexibility & DER / microgrid EMS agent | Optimize DER dispatch, storage, and controllable loads vs cost/emissions. | Inverter set-points, storage schedules, DR/EV commands. | Seconds to minutes (operational control) | RL/DRL, MAS, DT-based optimization, Safe-RL, XAI. |
| Transactive market / pricing agent | Clear local markets; coordinate bids/offers under network constraints. | Market bids, prices, settlement signals. | Minutes to hours (market intervals) | MARL, MAS, DT market simulators, XAI for price transparency. |
| Resilience & restoration agent | Reconfigure feeders, island microgrids, prioritize critical loads. | Switches, breaker statuses, black-start commands. | Seconds to hours (restoration phases) | MAS + MARL, Safe-RL, DTs for scenario testing, XAI. |
| Cyber-physical security / SA agent | Detect intrusions and anomalies; provide situational awareness. | IDS alerts, SCADA/PMU data, risk dashboards to operators. | Seconds to minutes (monitoring) | Anomaly detection ML, graph methods, XAI, LLM for reporting. |
| Digital-twin orchestration agent | Manage DT fidelity, scenarios, and sim-to-real transfer for other agents. | DT configuration, scenario generation, KPI reporting. | Offline to near real time (planning & testing) | DT platforms, RL training tools, surrogate models, XAI. |
| Human-interface / LLM copilot agent | Translate operator intent and policies to agent goals; explain actions. | Natural-language dialogue, tool calls to simulators/solvers. | Minutes to hours (operator workflows) | LLMs/foundation models, retrieval, XAI backends, tool calling. |

4. Agentic AI Architectures and Application Taxonomy in Smart Grids

Agentic artificial intelligence in the context of smart grids is a fundamental system-level design decision rather than the application of another component of an algorithmic system. Autonomous agents are deployed at different geographical locations and time scales, have specific roles, and are interlinked by communication networks, market mechanisms, and digital twin infrastructures. The present section formalizes such a holistic system understanding, and provides a taxonomy of agent roles and applications, which will be able to transcend conventional disciplinary limitations, such as forecasting, stability, or market clearing.

In contrast to algorithm-centric or application-centric survey frameworks, which mostly group research based on model class or tasks domain, the proposed capability-driven taxonomy groups previous work based on functional capabilities (autonomy level, safety enforcement, decision authority, human-in-the-loop requirements, etc.). This organizational scheme provides greater analytical clarity by explicitly suggesting the links between the relationships among technical mechanisms and system-level roles and operational responsibilities. From additional evaluation perspectives, a taxonomy makes it simpler for design and deployment from direct reasoning about interoperability, certification readiness and operator oversight, engineering choices that go ahead of isolated functionality will compare.

4.1 Layered Agentic Architecture Smart Grid

Building on the aspects of the perception-cognition-action-coordination-explanation cascade that we have already introduced, a concrete layered architecture for agentic smart grids may be summarized as follows:

- Perception and Data Layer: Streaming measurements from supervisory control and data acquisition (SCADA) / energy management systems (EMS), phasor measurement units (PMUs), smart meters, distributed energy resource (DER) controllers, meteorological feeds, and cyber security sensors.

- Cognitive Layer - Decision and reasoning modules, including optimal power flow (OPF) and model predictive control (MPC) solvers, deep reinforcement learning (DRL) and safe RL for constrained control, Bayesian/Kalman filtering for uncertainty handling, and foundation models (LLMs/time-series models) for forecasting and decision support.

- Action Layer: Controllers and actuators for implementing switching, set-point dispatch, flexible AC transmission system (FACTS) /DER control, and market bid submission.

- Coordination Layer - Multi-agent coordination (MAS), transactive energy mechanisms, federated learning, and hierarchical control that put a lot of local agents into a single whole.

- Explanation and Governance Layer - explainable artificial intelligence (XAI) pipelines, safety monitors, formal verification elements, human-agent interfaces (large language model-based natural language frontends)

To consolidate these relationships, Table 3 illustrates the facilitation of artificial intelligence technological by elaborating their functional responsibility inside agentic smart grid systems, rather than understanding their relative significance. Primary functional roles define the fundamental capabilities provided by each technology; secondary contributions summarize the support roles or supporting capabilities; and deployment relevance is the standard stage or context of deployment in which the technology is deployed. Such a functional decomposition overcomes the issue of subjective ranking while making a direct link between each technology and design and deployment considerations at the system level[7], [32], [38], [39], [44].

Table 3 Functional roles of enabling ai technologies in agentic smart grid systems

| Technology | Primary Functional Role | Secondary Contributions | Deployment Relevance |
| --- | --- | --- | --- |
| RL / DRL | Policy learning | Optimization, adaptation | Simulation → HIL |
| MARL | Coordinated control | Distributed decision-making | Microgrids, DERs |
| Safe-RL | Constraint enforcement | Robust learning | Safety-critical control |
| Digital Twin | Validation & testing | Scenario analysis | Pre-deployment |
| XAI | Interpretability | Trust, auditing | Operator oversight |
| LLM / FM | Human–AI interface | Orchestration, reasoning | Supervisory control |

Classical MAS surveys have already revealed that smart-grid control architectures tend to form naturally occurring centralized, decentralized, hierarchical, holonic, or coalition-based architectures, such that the categorization is directly compatible with agentic AI layering when cognitive and XAI modules are embedded within each agent rather than considered as an external black box optimizer[6], [17]. A practical implication of this research is that a number of classes of existing MAS controllers can be extended into agentic AI-based operating systems, under certain explicit assumptions regarding observability, autonomy and safety. This transition requires the integration of learning-based decision-making paradigms such as DRL and MARL in conjunction with the use of digital twin technologies for safe training and strict validation. Moreover, the inclusion of mechanisms to explain these systems is essential to allow human operator oversight and accountability in these advanced systems[45], [46], [47].

Most existing deep reinforcement-learning-based grid controllers are validated in almost exclusively simulation or hardware-in-the-loop setups, where often safety, constraint satisfaction, and operator interaction are implicitly hidden topics. Recent investigations show that to move beyond this stage is necessary to have architectures that explicitly incorporate safety constraints, supervision at system level, and operational feasibility. Safe DRL-based autonomous scheduling frameworks have proven that the integration of operational constraints and validation mechanisms is essential for real-world energy-system deployment, in contrast to optimization of performance in a simulated context [48]. Complementary survey and system level analyses further indicate that deployable autonomous control systems must include monitoring, decision arbitration and safety enforcement levels to achieve higher technology readiness levels [49]. Collectively, these results provide evidence for the argument that agentic architectures of AI - which integrate learning, safety, and oversight into one control structure - can open an important tangible route from closing gaps between simulation-based controllers for DRL to deployable smart-grids.

4.2 Agent Roles and Archetypes in Smart Grids

Instead of organizing the literature under algorithmic headings (RL, MPC, heuristic) or asset classes (FACTS, EV, storage), we propose the notion of agent archetypes that explicitly call for encoding the functional role of each entity on the power system grid.

Agents for Stability and Protection: Voltage and frequency support agents manage the coordination of inverter droop mechanisms, secondary and tertiary support actions, and grid-forming operations. Protection agents identify faults, interact for the proceeding of tripping and reclosing operations, and control adaptive protection settings in distribution and transmission networks. Multi-agent system (MAS)-based protection frameworks have already shown agents performing local fault detection, islanding, and reconfiguration activities, reducing fault clearance times, and improving selectivity[45], [50].

Flexibility and DER Management Agents: Microgrid Energy Management System (EMS) agents ensure the synchronization of photovoltaic (PV), wind power, storage, and controllable load resources. Electric vehicle (EV) aggregator agents schedule large fleets of EVs for vehicle-to-grid (V2G) and grid-to-vehicle (G2V) interactions in accordance with network constraints [8], [9]. Building energy management agents are responsible for managing heating, ventilation, and air conditioning (HVAC) systems, thermal storage, and flexible end-use appliances at the edge[6], [51].

Transactive Market and Pricing Agents: Local market agents implement transactive energy systems (TES), in which bids and offers, as well as local price information, coordinate distributed energy resources (DERs) and loads [52]. Hierarchical transactive microgrid agents for optimized energy cost and carbon footprint through multi-level multi-agent reinforcement learning (MARL) [53]. Distribution system transactive energy market system(TEMS) agents are responsible for clearing local markets by considering voltage constraints and the high penetration of renewables and EVs [54], [55].

Resilience and self-healing agents: Restoration agents reconfigure distribution feeders and microgrids after faults and use MAS coordination to restore computing load and mitigate voltage/security goals [50], [56]. Islanding and reconnecting agents negotiate microgrid boundaries, black start sequences, and sequence of service across multiple microgrids

Cyber-physical Security and Situational Awareness Agents: Intrusion-detection agents combine anomaly detection, rule-based warnings, and graph-based reasoning. Situational awareness agents combine supervisory control and data acquisition (SCADA), phasor measurement units (PMU), EMS, operational technology (OT) logs, and external intelligence for summarizing risk indicators for operators [6], [45].

Digital twin Orchestration and Simulation Agents: Agents are in touch with the agent that adds the digital twin (DT) layer, induces what-if situations, validates policies in synthetic environments, and performs procedural simulation-to-real transfer in RL policies. Such agents act as meta-controllers, coaching subordinate agents, controlling DT model fidelity, and selecting relevant scenarios [45], [57].

Human-sponsored/logistics manager (LLM)-Enabled Orchestration Agents: Large language model (LLM)-based agents act as natural-language front-ends to grid information, operating procedures, and AI instruments, which allows operators to ask the operating system status, obtain an explanation, or script complex operations in natural language [58], [59], [60].

4.3 Taxonomy of Functional Application

Applications are now organized according to system functions instead of algorithms, and with explicit references to the agent roles and main technologies (deep reinforcement learning [DRL], MAS, DT, explainable AI [XAI], and LLMs) usually used.

- Voltage, Frequency, and Power- Quality Management: Agentic applications include distributed voltage control, where agents representing inverters, on-load tap changers (OLT Cs), and capacitor banks cooperate through consensus or negotiation-based voltage control mechanisms to maintain voltages within prescribed limits while minimizing losses[61], [62]. Frequency and inertia management in microgrids are performed by MAS-based secondary and tertiary controllers with all set-points shared by cooperative control, which reduces the dependence on centralized automatic generation control (AGC) [63]. Power quality agents adaptively tune harmonic filters, harmonic filters and harmonic comparators, harmonic compensators in the filter or converter, and control loops by potentially exploiting DRL policies trained in DTs and monitored by the XAI module. Such systems are inherently hierarchical agent systems, where fast local agents implement the droop and converter level control (millisecond-second level) and slower supervisory agents are used for coordination of the tap changer operations and the set point adjustments (seconds-minute range) [61], [63]

- Microgrid and Distributed Energy Resource Energy Management: For grid connected and islanded microgrid(s), MAS-based EMS solution solutions are based on agents assigned to these distributed generators, storage units, controllable loads, and tie-lines, where these agents negotiate power set-point and schedule under the economic and reliability objectives[64], [65] . Concerning RL agents, renewable-rich microgrids increasingly include RL agents that learn policies to control the dispatching of storage and to operate load shifting [45], [66] but are still physically embedded in MAS frameworks for negotiation and conflict resolution. Buildings surrendered their loads (HVAC, EV charging activities, etc.) to building-level agents, while participating in community markets and demand response programs, indicating that MAS studies realized improved comfort-cost trade-offs and resilience to communication failures [6], [67]. In agentic terms, these are done by each EMS agent, keeping internal goals (cost, emissions, comfort), sensing local measurements and price signals, and planning and executing schedules by coordinating with peers and agents up (top) the market organization.

- Transactive Energy Market Based Coordination: Transactive energy systems explicitly include economic agents that orchestrate supply and demand through price determination and bidding behavior, often at the distribution or microgrid levels [11]. In addition to multi-agent TEMS, key agentic patterns include prosumer and aggregator agents bidding into local markets, while system operator agents enforce constraints on the networks and reliability [54]. Hierarchical transactive microgrids use a three-layer architecture of the MARL model, where household agents optimize costs, intermediate agents contribute to adjusting prices, and top-level agents focus on inter-microgrid trades and inter-microgrid carbon footprints [53]. Market-clearing agents for regional distribution markets involve multi-agent coordination for double auctions to handle congestion, fairness, and carbon pricing [55], [68]. From an agentic AI perspective, TES is a blatant example of coordination-heavy roles: all agents deploy a strategy to maximize their individual utility, but they must conform to network limitations and regulatory laws. DRL-approach-based bidding policies, DT, and market simulators are increasingly used to increase robustness and trustfulness, along with XAI tools for price transparency.

- Resilience/Self-healing/Restoration: MAS architectures have been used profusely in applications such as self-healing distribution grids and multi-microgrid restoration, where agents that represent switches, feeders, and microgrids collectively make isolation, reconfiguration, and load prioritization decisions[50], [56]. Agentic AI is used to refine these architectures by training restoration policies (single-/ multi-agent RL) in high-fidelity DTs that simulate faults, extreme weather, and cascading failures, thus lowering the need for rule-based heuristic training methods for safe layers. Safe layers ensure the fulfillment of constraints, such as thermal constraints, voltage profiles, and N-1 safety requirements. Ultimately, formal verification in the case of N-1XAI is meaningfully used to justify restoration decisions (e.g., why specific feeders would not be energized, why critical loads prioritized).. This is imperative for regulatory compliance and public acceptance. Recent efforts have shown that multi-ageing restoration schemes significantly reduce outage duration and unserved energy compared to static restoration strategies, particularly if the control of DERs and microgrids is active instead of being considered passive resources[50], [56].

4.4 Cross-Layer Design Patterns and Integrated Stacks

Several recurring patterns emerge in the literature when integrating RL, MAS, DTs, and XAI into end-to-end stacks.

- DT-Centric Training and Shadow Deployment

          - RL and MARL policies for voltage control, microgrid EMS, or transactive markets are first trained and stress-tested in DTs, and then deployed cautiously to real systems with “shadow mode” evaluation[45], [69].

          - DT orchestration agents manage scenario generation (e.g., extreme weather and contingencies), data fidelity, and synchronization with live systems.

- Hierarchical MAS with RL-Enabled Local Agents

          - Lower-level agents (e.g., DER controllers and local markets) use RL for local decision-making, whereas upper-level agents enforce global objectives and constraints via coordination algorithms or market mechanisms [53], [61], [63].

- Human-in-the-Loop XAI and LLM Interfaces

          - Operational agents expose explanation interfaces (e.g., feature importance plots, counterfactual explanations, and natural language rationales) that LLM-based assistants can summarize or contextualize for operators and regulators [3], [42].

- Federated and Distributed Learning for Privacy and Scalability

          - The multi-agent setting is often combined with federated learning to update models across many devices or microgrids without centralizing data, thus aligning with privacy and regulatory constraints while still benefiting from collective learning [6], [47], [66].

These patterns are the building blocks of truly agentic AI ecosystems for smart grids; the remainder of this paper focuses on safety, governance, and open problems in scaling them. A consolidated view of this technology stack is presented in Figure 7, highlighting the interactions between the physical infrastructure, digital twins, learning-based decision cores, coordination layers, and governance frameworks.

Figure 7 The engine room: inside the agentic technology stack

5. Research Agenda and Open Challenges for Agentic AI in Smart Grids

As shown above, agentic AI in smart grids has evolved from speculation to active research, as evidenced by advances in DRL controllers, multi-agent architectures, digital twins, XAI, and LLMs. Nonetheless, the available literature consists mostly of a mixture of promising experimental prototypes rather than a fully developed engineering discipline. Accordingly, this chapter lays out a coherent research agenda that has the following form: benchmarking and evaluation, safety-first architectures, hybrid model-based/model-free agents, LLM orchestrated operations, and socio-technical and environmental considerations.

5.1 Towards Standardised Benchmarks for Agentic Grid Control

Current publications typically evaluate RL or agentic controllers on custom testbeds with custom metrics, making cross-paper comparisons impractical and difficult. Recently, initiatives such as RL2Grid have been proposed to provide a common benchmark for RL-based plan grid operations and combine optimal power flow (OPF), managing contingency, and tasks related to stability [70]. RL2Grid provides various operational scenarios and conditions; however, it remains largely single-agent-based and focused on transmission-level operations. Complementary efforts, such as MARL2Grid, extend this framework to multi-agent scenarios, explicitly addressing distributed control and local observability constraints in meshed networks. What is still lacking is a benchmark suite that matches overtly to the "agentic stack" addressing, herein, perception, memory, planning, acting, coordination, and explanation. Accordingly, new benchmarks for future use should:

- Incorporate end-to-end tasks that require agents to develop a combination of forecasting, state estimation, and control, rather than assuming perfect information and forecasts.

- Span heterogeneous time scales, from milliseconds number protective actions down to one hour, and different networks, from high voltage transmission to overall distribution and micro grids to behind-meter resources.

- Safety-critical scenarios are defined as first-class evaluation cases (N-1/N-k, extreme weather, IBR-dominated islands, communication loss), not just average-case steady states.

Methodological studies on the systematization of RL for power system control, such as that by Jin et al[71] and the last surveys focused on safe RL for grid applications [72], [73], establish a good conceptual ground that must be transposed into publicly available, well-documented, and continuously maintained benchmark suites adopted by both academia and industry.

Recent research has empirically built up a framework for demonstrating the safe deep reinforcement learning, by formally modeling the problem of autonomous scheduling within integrated energy systems with deep learning, by explicitly incorporating operational constraints and system level objectives into the learning paradigm. Specifically, safety-aware DRL frameworks have highlighted an increased feasibility to be deployed in the real world by simultaneously considering the constraint satisfaction, scheduling performance, as well as operational robustness, as opposed to focusing solely on simulation-based validation[44], [48].

Representative applications of safe reinforcement learning-based autonomous scheduling provide empirical evidence to show that deployable intelligent control systems always require the explicit consideration of safety constraints and operational limits. Recent investigations show that the inclusion of such constraints into the learning and decision-making processes themselves is inseparably linked to the bias from simulated to real world energy systems operations for autonomous controllers[48]. Supplementary system horoscope analyses further propose that the feasibility associated with deployment is dependent upon the integration of learning based controllers with supervisory structures that permit supervision monitoring, constraints enforcement and compliance with operational requirements[44]. These findings hence offer direct impetus towards agentic architectures for AI, for which learning, safety and system oversight are conceptualized as integrated functionalities at the system level, rather than disjointed algorithmic components.

A concrete short-term objective is the definition of "Grid Agentic Benchmark v1.0" which:

- Builds on RL2Grid and MARL2Grid scenarios,

- Includes explicit roles (e.g. protection agent, flexibility aggregator access digital-twin orchestration agent),

- Measures not only reward and constraint violation, but also explainability, robustness, and simulation to real transfer measures.

5.2 Safety First Architectures and Verification Pipelines

Given the critical importance of power systems, safety considerations must be incorporated into the system from the earliest stages of design and not as an afterthought. Current safe RL surveys aggregate an overview of shielding, constrained policy optimization, and Lyapos for applications to the grid [72], [73]; nevertheless, there is currently no consensus architecture that combines these methods in a transparent and certifiable pipeline.

An important research direction is to connect safe RL design patterns with formal verification and digital twin–based testing. The double-helix model for verification and validation (V&V) of physical and digital twins explicitly emphasizes the bidirectional coupling between the real system and its twin and provides a general systems-engineering view of how TEVV (testing, evaluation, verification, and validation) should be organized [74]. Applying this paradigm to agentic AI entails the following pipeline, each of which has a number of layers:

- Offline layer: Agents are trained and stressed in high-fidelity digital twins, which are scenario ensembles (extreme weather, cyber-physical faults, rare operating points). Formal tools are available for checking the reachability of unsafe states in the presence of bounded disturbances.

- Shadow-mode layer: Policies run in "advisor" or "shadow" mode in the control room (or embedded protection devices), where they generate actions but do not take any grid action. Their behavior is logged, monitored, and compared to operator or legacy controller decisions.

- Guarded Online layer: Based on the measured performance, the agents run under runtime monitors and rule-based safety envelopes that can override the action in which they achieve hard limits or violate security rules (e.g., voltage/frequency margins, line currents, protection settings).

Figure 8 illustrates a safety-first deployment pipeline, beginning with offline digital twin training and stress testing, progressing to shadow-mode evaluation against classic controllers, and culminating in guarded online deployment with runtime safety monitors and human override.

Figure 8 The path to deployment: a safety-first pipeline

Research needs to cover the specification of these envelopes and monitors in reusable formats and the automation of their generation from grid codes and guidelines for operating the plant. Moreover, there still seems to be a clear gap between high-level safety concepts (e.g., the concepts of "constraint satisfaction", "risk-aware exploration") and the more concrete operational practices in transmission and distribution system operators (e.g., specific settings in relay configurations and remedial action schemes). Bridging this gap is likely to require the co-design of agent architectures, digital dual models, and verification tools, and not seeing them as silos.

5.3 Hybrid Model-Based / Model-Free and Physics-Guided Agents

A very visible trend is the tendency to move away from strictly model-free RL and instead appreciate the benefits of hybrid schemes that use physical knowledge, optimization structure, and (even quantum-inspired) algorithms. Recent literature reviews the role of quantum computing and quantum -- inspired algorithms in power system optimization[75], [76] and shows that quantum -- inspired DRL can be combined with microgrid controllers and low -- carbon parks [77], [78]. Figure 9 illustrates a hybrid agent architecture that fuses a physics-based optimization module (OPF/MPC), model-free RL/DRL module, and world-model surrogate, all coordinated by a cognitive orchestrator and filtered through an external safety layer.

Figure 9 The hybrid agent: fusing physics with learning

From an agentic AI perspective, the most significant questions are not whether advances in quantum or advanced optimization methods can be instrumentalized but how such capabilities need to be incorporated as sub-skills within an autonomous agent. As an example, a better planning agent may use some fast approximate OPF solvers or quantum enlightened optimization procedures to produce candidate set-points while the lower-level DRL policy has a job to do (real-world tracking and robustness).

This is performed by agents that are allowed to switch between model-based modalities that rely on a calibrated digital twin and model-free approaches that devolve to learned policies for cases in which the model contains significant inaccuracies, as measured by uncertainty quantification. Physics-informed neural networks (PINNs) or surrogates in the form of graph neural networks may be used as simulators inside agents during their look-ahead planning.

The recent "foundation models for the electric power grid" framework explicitly calls for grid-specific foundation models (GridFMs), which are trained on heterogeneous topologies and operating conditions and then fine-tuned for a plethora of downstream subject matter [79]. research-hub. A logical next step is to consider these GridFMs as shared world models available to multiple agents; a protection agent, flexibility aggregator, and dispatch copilot, for example, could all use the same learned model to conduct a fast approximate sensitivity analysis.

The key research questions are as follows:

- How is it possible to merge optimization, RL, and justice within a unified agent without designing fragile interfaces between discrete solvers?

- How to propagate the uncertainty originating from approximate models, such as quantum or surrogate models, into the decision-making process of the agent?

- How can evaluation protocols be designed to fairly compare pure RL, pure optimization, and hybrid approaches for the same tasks and scenarios?

5.4 LLM-Orchestrated Operations and Human–AI Collaboration

Large language models and other foundation models are increasingly acting as coordination and interface layers in grid operations. One example is the eGridGPT initiative, which showcases an LLM-based assistant that can assist system operators by parsing procedural documents to suggest actions and perform digital twin simulations within a human-in-the-loop framework that respects cybersecurity and critical infrastructure constraints [77], [80].

Simultaneously, an ecosystem is developing around benchmarks in the power sector and domain-specific LLMs. ElecBench: We provide a dispatch-oriented benchmark for LLMs that has structured tasks in terms of contingency analysis, remedial actions, and constraint-aware generation rescheduling [80]. GAIA, a large language model designed for power dispatch, is developed using a multi-dimensional dispatch only dataset and a testing dataset of ElecBench: GAIA shows that a fine-tuned LLM model can be proven to be superior than other general-purpose language models such as LLaMA2 when focused on dispatch-related tasks and to improve the collaboration of humans and machines in control room. Surveys on large AI models of artificial intelligence for power systems further systematize the roles played by large language models, time-series foundation models, and multi-models for forecasting, anomaly detection, decision support, and code generation in grid environments[81].

For agentic AI specifically, there are salient problems of open questions beyond "LLM vs. classical methods" involving agentic orchestration.

- How should LLM-based copilots work with low-level DRL or optimization agents? Should the LLM generate high-level plans, for example, get agent A 'to shed 50 MW in this corridor using these resources', to be delivered by other agents, or rather, to be mostly acting as an explanatory layer that translates between agent policies and language understandable by agents and operators?

- How can the benefits and risks of LLM-augmented control rooms be quantitatively tested? Existing benchmarks, such as ElecBench, focus on task success and constraint adherence; however, other critical aspects of operator workload, trust, and error recovery behavior need to be added.

- How can tool(method)-calling and function-calling interfaces be designed so that LLMs can safely trigger simulations, optimization runs, and what-if analyses without outflanking the safety envelopes or overloading the SCADA/EMS systems?

An additional unexplored avenue includes the combination of time series and graph foundation models in tandem with LLMs: a grid copilot, for instance, would want to have a time series FM to quickly predict the load and renewables, a graph FM that can estimate the sensitivities, and an LLM that can reason on procedure, policy, and operator queries (e.g., asking operators to execute an operation might result in an error). This would render the "agentic stack" a multi-f foundation model ensemble, which raises the complex issue of responsibility, error attribution, and robustness. Figure 10 conceptualizes an LLM-based copilot that mediates between system operators and a suite of low-level control and simulation agents, translating natural language queries into structured commands while remaining decoupled from direct physical actuation.

Figure 10 The LLM as orchestrator: human-AI collaboration reimagined

5.5 Socio - Technological, Regulatory and Environmental Dimensions

Fully agentic AI for smart grids introduces problems that go beyond the challenge of algorithmic design. Several recent reports reinforce the need for generative AI and other advanced models in the electricity sector to be designed with cyber security, regulatory compliance, and fairness serving as fundamental principles rather than being bolted on retroactively[77], [81]. Concurrently, foundation models and LLMs are computationally heavy; their training and inference loads contribute significantly to data center energy utilization and associated emissions, which could offset operational gains if not managed appropriately.

Three socio-technical themes can be regarded as subject to systematic investigation for smart grids:

- Governance and accountability of A.I. When a DRL-based protection agent or an LLM coordinated dispatch system plays a role in a blackout or near-miss, establishing who is responsible is critical, including whether it is the utility, vendor, or model developer. The present regulatory models are based on deterministic schemes and human operators. Incident reporting standards, audit trails, and model documentation practices that make agent behavior traceable in the event [post-event analysis] are imperative. For example, eGridGPT emphasizes the user's human-in-the-loop design and explicit documentation of the difference between recommendations and operator decisions; similar trends should be generalized to other agent deployments [77].

- Data governance, data privacy and interoperability Agentic AI is based on extensive data sharing across the wide area - synchrophasor data, asset health data, customer demand profiles, EV charging patterns and market bids to name a few. Foundation-model views emphasize the need to consolidate various data to train grid FMs[79], which conflicts with the need for privacy, data sites, and commercial tree confidentiality. Future work should investigate federated privacy-preserving training and evaluation for grid agents and standardized schemas and ontologies that enable the interoperability of digital twins between utilities.

- Environmental and system effects thereafter. It is tempting to think that smarter agents always reduce emissions while increasing resilience; however, this is not always the case. A highly optimized flexibility-aggregation agent could lead to economic benefits and increased thermal unit cycling or stress distribution assets. Life cycle assessments and system-level assessments quantifying the net impact of agentic AI deployments are therefore critical, including the energy and carbon cost of training and running large models, economics of changes in grid losses, asset life and reliability indices, and impacts on market outcomes and equity (e.g., what customer segments benefit most from agent-driven demand response).

Figure 11 consolidates the proposed research agenda for agentic AI in smart grids, highlighting the need for standardized benchmarks, safety-first architectures and verification, socio-technical and regulatory studies, hybrid physics-guided agents, and LLM-orchestrated operations.

Figure 11 The research frontier: an agenda for the next decade

6. Synthesis and Conclusion: Towards Trustworthy Agentic AI in Smart Grids

Agentic AI in smart grids converges multiple research threads: reinforcement learning for control, multi-agent systems for coordination, digital twins for simulation, XAI for transparency, and large models for knowledge-intensive tasks [37], [70], [82]. The literature surveyed in this paper shows that each of these components has matured considerably during the last decade, and that prototype systems using agentic principles have started to materialize in realistic testbeds and pilot deployments. Nonetheless, there is a large gap between these early prototypes and readily deployable and reliable systems that can be used to support critical grid operations. This final chapter draws together the main insights from the review to state some cross-cutting design principles for assuming agenticity in smart grids and assert a practical pathway from research to responsible deployment.

6.1 From Isolated Algorithms and Agentic Architectures

A recurring theme in the surveyed literature: isolated algorithmic advances are no longer the main bottleneck. For instance, deep reinforcement learning and safe RL have provided a reasonably rich toolbox for synthesizing control policies subject to constraints [28], [72], and multi-agent control frameworks have been investigated extensively in the context of microgrids, flexibility aggregation, and transactive markets [7]. The use of digital twins as the foundation for planning, predictive maintenance, and real-time analysis is becoming more indicative [82], [83], and explainable AI has moved from generic feature attribution to domain-specific explanation schemes dedicated to energy systems e.g. [9], [37].

Therefore, the central technical challenge is integrating these components into coherent, layered agentic architectures these elements into coherent, layered agentic architectures, where perception, memory, planning, acting, coordination, and explanation are treated as first-class design concerns rather than afterthoughts. The categorizations of models and taxonomies mentioned above provide a starting point: protection and stability agents, flexibility and EMS agents, market and transactive agents, resilience and restoration agents, DT orchestration agents, and human-interface agents make up a "cast" of actors in the smart grid, each of them endowed with well-defined roles and interfaces. The literature does have, for example, partial exemplars of such systems, such as multi-agent restoration schemes trained in the context of digital twins that include RL-based decision logic or transactive markets executed as multiagent systems employing learning-based bidding strategies [56], [79]. However, a systematic methodology for designing, analyzing, and verifying these architectures is still lacking.

6.2 Principles of Trust in Agentic Stacks

The preceding chapters reveal key design principles for introducing agentic AI to real grids.

Safety by construction rather than by patches: Recent efforts to explore safe RL and reliable ML in power systems emphasize the need for explicitly surfacing safety issues, defining valued safety envelopes, and specifying and engineering controllers and learning processes relative to these envelopes [72], [84], [85]. This requires that, in an agentic stack, safety layers, runtime monitors, and fallback controllers are built into the bottom of the architecture, not ad-hoc add-ons that are tacked on after the neural policies at the terminal stage of their pipeline.

Digital twins have evolved from a conceptual notion to operational tools in several power-system domains: For agentic AI, they should serve as the primary environment for training, stress-testing, and regression testing[82], [83]. As digital twins mature, they must be version-controlled, continuously validated, and updated to reflect evolving system conditions[74]. In the absence of this, the sim-to-real transfer is an inherently delicate link in the deployment chain.

Hybrid model-based and model-free cognition: From the survey of quantum-inspired methods, physics-guided learning, and foundation models for the grid, it is likely that model-free methods will not dominate safety-critical environments[78], [79], [83]. Instead, agents will use more and more hybrid forms of cognition: using physics-based models, optimization solvers, and surrogates when they are given enough trust, and learned policies or robust heuristics when the uncertainty in models is more pronounced. This type of hybrid design is a natural fit with the agentic notion of "skills" or "tools" that agents can invoke as needed or necessary.

Human-centered explanatory interfaces: Evidence from operator decision-support studies and recent language-based dispatch copilots demonstrates that the effectiveness of AI in control-room environments depends as much on interaction design and interpretability as on raw model performance [14], [15]. Accordingly, agentic AI systems should be explainable by design: agents must explicitly communicate their objectives, operational constraints, reasoning processes, and uncertainty estimates in forms aligned with operator mental models and regulatory requirements, rather than relying solely on generic, post hoc XAI metrics[9], [37], [81].

Governance and documentation as technical requirements Regulatory developments such as the EU: AI Act will work together with sector-specific reliability standards to effectively integrate documentation, traceability, and risk management into the technical specifications for any AI system deployed in critical infrastructure [86], [87]. For agentic AI, this means that each deployed agent should receive an unambiguous audit trail (data, training, evaluation, versioning), defined roles and structures/processes for escalation, and smooth integration with organizational governance structures-not just a description of its underlying neural network architecture.

These principles, although well supported by the literature, are not often implemented end-to-end throughout a system. Translating these into practical design patterns and reference architectures is a pivotal next step.

6.3 Towards Benchmarks, Roadmaps, and Real-World Pilots

The establishment of RL2Grid, MARL2Grid, and others is a signal of positive development that indicates that the community is moving towards a more systematic evaluation[70]. Likewise, perspectives on "foundation models for the grid" and large model surveys are beginning to reconcile data, model, and deployment considerations under unified conceptual frameworks [70], [80]. Nevertheless, these benchmarks and conceptual papers need to be complemented by long-term and multi-stakeholder pilot projects.

- Phase I - Consolidation of simulated and benchmark results: Benchmarking: Finally, for communication use cases such as distributed voltage control, restoration, flexibility aggregation, and dispatch copilot [70], [84], [85], consolidate representative use cases into open benchmarks that explicitly incorporate the metrics for safety and explainability, and the realistic communication constraints, cyber-physical threats, and regulations.

- Phase II - Digital twin pilots and shadow deployments: Implement agentic stacks in high-fidelity digital twins of specific grids (including microgrids and campus networks, regional TSO/DSO zones), and have them in shadow mode (same as existing control schemes). Projects such as eGridGPT provide examples of how pilots can be configured and pay careful attention to issues of cybersecurity and operator workload [80].

- Phase III - Controlled roll-out and regulation with some oversight from regulators: Progressively deputize (give limited levels of actuation authority to agents), beginning with agents performing low-risk tasks (e.g., advisory functions, non-critical flexibility dispatch), vis-a-vis formal risk management and monitoring frameworks (in line with AI regulation, the standards of critical infrastructure)[86], [87]. Lessons from each deployment should be fed back into the benchmark and architectural designs.

Throughout this process, collaboration among utilities, TSOs/DSOs, vendors, regulators, and researchers is critical. Many of the issues highlighted in this review - data governance, liability, and cross-system coordination–must be solved by technical work undertaken in isolation.

6.4 Limitations to the Current Evidence and this Review

It is important to acknowledge several limitations in the current evidence base. First, a large proportion of existing studies rely on stylized or highly simplified test systems, often adopting aggressive capacity-scaling assumptions, reduced-fidelity models of thermal and renewable generation, and simplified representations of protection schemes, communication networks, and human operator involvement. While such abstractions are useful for isolating algorithmic behavior and benchmarking control strategies, they do not fully capture the operational complexity, legacy constraints, and organizational realities of real-world transmission and distribution networks.

Second, there was a reporting bias in at least one case that reported only positive results. There seem to be few failed agent designs, negative transfers in sim-to-real deployments, or human-AI collaboration problems within control rooms reported in papers. However, there are lessons to be learned from other safety-critical areas, and these tell us that negative and near-miss reports are important for establishing sound engineering practices.

Third, this review has been mainly concerned with technical and high-level governance considerations and was unable to address in any depth some deeper socio-political and ethical questions, such as the distribution effects of agentic decision-making, cross-border data governance, and global inequalities in capabilities when it comes to AI. As agentic AI approaches implementation, these issues will require special attention in interdisciplinary work that goes beyond the scope of a single technical review.

6.5 Final Outlook

Despite these limitations, the trajectory is clear. Agentic AI, understood as autonomous goal-driven systems embedded in the physical and institutional fabric of the grid, can provide a powerful conceptual and technical lens for the next generation of grid intelligence. The surveyed literature shows that all the necessary "pieces" are present in some form: controllers for learning, multi-agent coordination schemes, digital twins, explainability methods, large models, and emerging governance frameworks.

The major challenge for the next decade is assembling these pieces responsibly. This will require the community to move from emphasizing single paper performance gains to building common benchmarks, from ad-hoc prototypes to reference architectures, from lab demonstrations to demonstrating in a controlled way through carefully designed pilots, and from designing algorithms in isolation to engineering socio-technical systems. If these shifts do occur, agentic AI has the power not only to make grids more efficient and dependable but also to make them almost transparently operative, resilient, and adaptable in the face of deep uncertainty. If they do not, agentic AI stands to become another hype that does not translate into large-scale, trusted practice. Finally, Figure 12 proposes a reference architecture for the ‘agentic grid’, integrating physical and sensing layers, digital twins and world models, agent layers (protection, EMS, market, resilience), coordination and market mechanisms, and XAI-enabled governance with an LLM-based operator interface.

Figure 12 The blueprint: a reference architecture for the agentic grid

References

[1]	O. A. Omitaomu and H. Niu, “Artificial Intelligence Techniques in Smart Grid: A Survey,” Smart Cities, vol. 4, no. 2, pp. 548–568, Apr. 2021, doi: 10.3390/smartcities4020029.

[2]	M. Ahmadi, H. Aly, and J. Gu, “A comprehensive review of AI-driven approaches for smart grid stability and reliability,” Renew. Sustain. Energy Rev., vol. 226, p. 116424, Jan. 2026, doi: 10.1016/j.rser.2025.116424.

[3]	A. Fathollahi, “Machine Learning and Artificial Intelligence Techniques in Smart Grids Stability Analysis: A Review,” Energies, vol. 18, no. 13, p. 3431, Jun. 2025, doi: 10.3390/en18133431.

[4]	B. K. Bose, “Artificial Intelligence Techniques in Smart Grid and Renewable Energy Systems—Some Example Applications,” Proc. IEEE, vol. 105, no. 11, pp. 2262–2273, Nov. 2017, doi: 10.1109/JPROC.2017.2756596.

[5]	M. Glavic, “(Deep) Reinforcement learning for electric power system control and related problems: A short review and perspectives,” Annu. Rev. Control, vol. 48, pp. 22–35, 2019, doi: 10.1016/j.arcontrol.2019.09.008.

[6]	Y. Izmirlioglu, L. Pham, T. C. Son, and E. Pontelli, “A Survey of Multi-Agent Systems for Smartgrids,” Energies, vol. 17, no. 15, p. 3620, Jul. 2024, doi: 10.3390/en17153620.

[7]	Md. M. H. Sifat et al., “Towards electric digital twin grid: Technology and framework review,” Energy AI, vol. 11, p. 100213, Jan. 2023, doi: 10.1016/j.egyai.2022.100213.

[8]	N. Mchirgui, N. Quadar, H. Kraiem, and A. Lakhssassi, “The Applications and Challenges of Digital Twin Technology in Smart Grids: A Comprehensive Review,” Appl. Sci., vol. 14, no. 23, p. 10933, Nov. 2024, doi: 10.3390/app142310933.

[9]	R. Machlev et al., “Explainable Artificial Intelligence (XAI) techniques for energy and power systems: Review, challenges and opportunities,” Energy AI, vol. 9, p. 100169, Aug. 2022, doi: 10.1016/j.egyai.2022.100169.

[10]	Y. M. Banad, S. S. Sharif, and Z. Rezaei, “Artificial intelligence and machine learning for smart grids: from foundational paradigms to emerging technologies with digital twin and large language model-driven intelligence,” Energy Convers. Manag. X, vol. 28, p. 101329, Oct. 2025, doi: 10.1016/j.ecmx.2025.101329.

[11]	S. Franklin and A. Graesser, “Is It an agent, or just a program?: A taxonomy for autonomous agents,” in Intelligent Agents III Agent Theories, Architectures, and Languages, vol. 1193, J. P. Müller, M. J. Wooldridge, and N. R. Jennings, Eds., in Lecture Notes in Computer Science, vol. 1193. , Berlin, Heidelberg: Springer Berlin Heidelberg, 1997, pp. 21–35. doi: 10.1007/BFb0013570.

[12]	K. Mishchenko, “Intelligent agents for automated management of user files,” Contemp. Eng. Sci., vol. 8, pp. 841–851, 2015, doi: 10.12988/ces.2015.55161.

[13]	L. P. Kaelbling, M. L. Littman, and A. W. Moore, “Reinforcement Learning: A Survey,” J. Artif. Intell. Res., vol. 4, pp. 237–285, May 1996, doi: 10.1613/jair.301.

[14]	V. Mnih et al., “Human-level control through deep reinforcement learning,” Nature, vol. 518, no. 7540, pp. 529–533, Feb. 2015, doi: 10.1038/nature14236.

[15]	T. R. Sumers, S. Yao, K. Narasimhan, and T. L. Griffiths, “Cognitive Architectures for Language Agents,” 2023, arXiv. doi: 10.48550/ARXIV.2309.02427.

[16]	A. Abhishek, A. Ranjan, S. Devassy, B. Kumar Verma, S. K. Ram, and A. K. Dhakar, “Review of hierarchical control strategies for DC microgrid,” IET Renew. Power Gener., vol. 14, no. 10, pp. 1631–1640, Jul. 2020, doi: 10.1049/iet-rpg.2019.1136.

[17]	“Comprehensive overview of multi-agent systems for controlling smart grids,” CSEE J. Power Energy Syst., 2020, doi: 10.17775/CSEEJPES.2020.03390.

[18]	B. O. Olorunfemi and N. Nwulu, “Multi-agent system implementation in demand response: A literature review and bibliometric evaluation,” AIMS Energy, vol. 11, no. 6, pp. 1179–1210, 2023, doi: 10.3934/energy.2023054.

[19]	R. Yao, Y. Hu, and L. Varga, “Applications of Agent-Based Methods in Multi-Energy Systems—A Systematic Literature Review,” Energies, vol. 16, no. 5, p. 2456, Mar. 2023, doi: 10.3390/en16052456.

[20]	B. K., S. S., N. C.S., S. K. R., and M. Soundari, “Intelligent Energy Management System for Smart Grids Using Machine Learning Algorithms,” E3S Web Conf., vol. 387, p. 05004, 2023, doi: 10.1051/e3sconf/202338705004.

[21]	R. Labedzki, “Human-AI collaboration in Hybrid Multi-Agent Systems,” Int. J. Electron. Telecommun., pp. 1–9, Oct. 2025, doi: 10.24425/ijet.2025.155474.

[22]	Y. Shan, L. Ma, and X. Yu, “Hierarchical Control and Economic Optimization of Microgrids Considering the Randomness of Power Generation and Load Demand,” Energies, vol. 16, no. 14, p. 5503, Jul. 2023, doi: 10.3390/en16145503.

[23]	J. Liu, X. Zhuan, L. Shang, S. Su, and Q. Xie, “The Hierarchical Structure and Control Signal Transmission of Microgrid Hierarchical Control: A Review,” IET Power Electron., vol. 18, no. 1, p. e70057, Jan. 2025, doi: 10.1049/pel2.70057.

[24]	H. Bai, R. Cheng, and Y. Jin, “Evolutionary Reinforcement Learning: A Survey,” Intell. Comput., vol. 2, p. 0025, Jan. 2023, doi: 10.34133/icomputing.0025.

[25]	D. Y. Yamashita, I. Vechiu, and J.-P. Gaubert, “A review of hierarchical control for building microgrids,” Renew. Sustain. Energy Rev., vol. 118, p. 109523, Feb. 2020, doi: 10.1016/j.rser.2019.109523.

[26]	D. B. Aeggegn, G. N. Nyakoe, and C. Wekesa, “An Energy Management System for Multi-Microgrid system considering uncertainties using multi-objective multi-verse optimization,” Energy Rep., vol. 13, pp. 286–302, Jun. 2025, doi: 10.1016/j.egyr.2024.12.001.

[27]	D. Cao et al., “Reinforcement Learning and Its Applications in Modern Power and Energy Systems: A Review,” J. Mod. Power Syst. Clean Energy, vol. 8, no. 6, pp. 1029–1042, 2020, doi: 10.35833/MPCE.2020.000552.

[28]	V.-H. Bui, S. Mohammadi, S. Das, A. Hussain, G. V. Hollweg, and W. Su, “A critical review of safe reinforcement learning strategies in power and energy systems,” Eng. Appl. Artif. Intell., vol. 143, p. 110091, Mar. 2025, doi: 10.1016/j.engappai.2025.110091.

[29]	A. Bernadić, G. Kujundžić, and I. Primorac, “Reinforcement Learning in Power System Control and Optimization,” BH Electr. Eng., vol. 17, no. 1, pp. 26–34, Jul. 2023, doi: 10.2478/bhee-2023-0004.

[30]	A. V. Waghmare, V. P. Singh, T. Varshney, and P. Sanjeevikumar, “A systematic review of reinforcement learning-based control for microgrids: trends, challenges, and emerging algorithms,” Discov. Appl. Sci., vol. 7, no. 9, p. 939, Aug. 2025, doi: 10.1007/s42452-025-07529-6.

[31]	Z. Li et al., “Emergency Control for Sending-end Power System with Renewable Energy under HVDC Blocking Based on Deep Reinforcement Learning,” in 2023 5th International Conference on Electrical Engineering and Control Technologies (CEECT), Chengdu, China: IEEE, Dec. 2023, pp. 102–106. doi: 10.1109/CEECT59667.2023.10420701.

[32]	A. Jain, J. Sridevi, U. Dabral, A. Malhotra, and I. Kapila, “Multi-Agent Reinforcement Learning for Power System Operation and Control,” E3S Web Conf., vol. 511, p. 01021, 2024, doi: 10.1051/e3sconf/202451101021.

[33]	V.-H. Bui, S. Mohammadi, S. Das, A. Hussain, G. V. Hollweg, and W. Su, “A critical review of safe reinforcement learning strategies in power and energy systems,” Eng. Appl. Artif. Intell., vol. 143, p. 110091, Mar. 2025, doi: 10.1016/j.engappai.2025.110091.

[34]	W. Hua, B. Stephen, and D. C. H. Wallom, “Digital twin based reinforcement learning for extracting network structures and load patterns in planning and operation of distribution systems,” Appl. Energy, vol. 342, p. 121128, Jul. 2023, doi: 10.1016/j.apenergy.2023.121128.

[35]	M. Seyedi, S. Ebrahimi, K. Sheida, and F. Ferdowsi, “Digital Twin‐Enabled Transfer Learning of RL‐Driven Control for DC Microgrids,” Digit. Twins Appl., vol. 2, no. 1, p. e70012, Jan. 2025, doi: 10.1049/dgt2.70012.

[36]	C. Tubeuf, F. Birkelbach, A. Maly, M. Krause, and R. Hofmann, “Enabling Reinforcement Learning for Flexible Energy Systems Through Transfer Learning on a Digital Twin Platform,” in 36th International Conference on Efficiency, Cost, Optimization, Simulation and Environmental Impact of Energy Systems (ECOS 2023), Las Palmas De Gran Canaria, Spain: ECOS 2023, 2023, pp. 3218–3228. doi: 10.52202/069564-0289.

[37]	M. R. Shadi, H. Mirshekali, and H. R. Shaker, “Explainable artificial intelligence for energy systems maintenance: A review on concepts, current techniques, challenges, and prospects,” Renew. Sustain. Energy Rev., vol. 216, p. 115668, Jul. 2025, doi: 10.1016/j.rser.2025.115668.

[38]	A. M. Sazib, J. Arefin, S. A. Farabi, F. Rayhan, M. A. Karim, and S. Akhter, “Advancing Renewable Energy Systems through Explainable Artificial Intelligence: A Comprehensive Review and Interdisciplinary Framework,” J. Comput. Sci. Technol. Stud., vol. 7, no. 2, pp. 56–70, Apr. 2025, doi: 10.32996/jcsts.2025.7.2.5.

[39]	T. Hickling, A. Zenati, N. Aouf, and P. Spencer, “Explainability in Deep Reinforcement Learning: A Review into Current Methods and Applications,” ACM Comput. Surv., vol. 56, no. 5, pp. 1–35, May 2024, doi: 10.1145/3623377.

[40]	M. Taghian, S. Miwa, Y. Mitsuka, J. Günther, S. Golestan, and O. Zaiane, “Explainability of deep reinforcement learning algorithms in robotic domains by using Layer-wise Relevance Propagation,” Eng. Appl. Artif. Intell., vol. 137, p. 109131, Nov. 2024, doi: 10.1016/j.engappai.2024.109131.

[41]	S. Madani, A. Tavasoli, Z. Khoshtarash Astaneh, and P.-O. Pineau, “Large Language Models Integration in Smart Grids,” Energy Rep., vol. 14, pp. 1562–1577, Dec. 2025, doi: 10.1016/j.egyr.2025.06.051.

[42]	Q. Yao, F. Fang, Y. Chen, J. Liu, H. Mo, and Y. Ao, “AI Large Models for Power System: A Survey and Outlook,” IET Smart Energy Syst., vol. 1, no. 1, pp. 3–21, Jun. 2025, doi: 10.1049/ses2.70000.

[43]	Y. Xiang, L. Tan, G. Qiu, Z. Tang, and J. Liu, “Large Language Model for Secure Operation of Power Systems,” Smart Energy Syst. Res., vol. 1, no. 1, pp. 10005–10005, 2025, doi: 10.70322/sesr.2025.10005.

[44]	Z. Hou, W. Liu, and A. Knoll, “Safe Reinforcement Learning for Autonomous Driving by Using Disturbance-Observer-Based Control Barrier Functions,” IEEE Trans. Intell. Veh., vol. 10, no. 6, pp. 3782–3791, Jun. 2025, doi: 10.1109/TIV.2024.3463468.

[45]	A. A. Shobole and M. Wadi, “Multiagent systems application for the smart grid protection,” Renew. Sustain. Energy Rev., vol. 149, p. 111352, Oct. 2021, doi: 10.1016/j.rser.2021.111352.

[46]	M. H. Moradi, S. Razini, and S. Mahdi Hosseinian, “State of art of multiagent systems in power engineering: A review,” Renew. Sustain. Energy Rev., vol. 58, pp. 814–824, May 2016, doi: 10.1016/j.rser.2015.12.339.

[47]	M. Hasanuzzaman Shawon, S. M. Muyeen, A. Ghosh, S. M. Islam, and M. S. Baptista, “Multi-Agent Systems in ICT Enabled Smart Grid: A Status Update on Technology Framework and Applications,” IEEE Access, vol. 7, pp. 97959–97973, 2019, doi: 10.1109/ACCESS.2019.2929577.

[48]	Y. Li et al., “Safe-AutoSAC: AutoML-enhanced safe deep reinforcement learning for integrated energy system scheduling with multi-channel informer forecasting and electric vehicle demand response,” Appl. Energy, vol. 399, p. 126468, Dec. 2025, doi: 10.1016/j.apenergy.2025.126468.

[49]	R. Inamdar, S. K. Sundarr, D. Khandelwal, V. D. Sahu, and N. Katal, “A comprehensive review on safe reinforcement learning for autonomous vehicle control in dynamic environments,” E-Prime - Adv. Electr. Eng. Electron. Energy, vol. 10, p. 100810, Dec. 2024, doi: 10.1016/j.prime.2024.100810.

[50]	A. S. Nair et al., “Multi-Agent Systems for Resource Allocation and Scheduling in a Smart Grid,” Technol. Econ. Smart Grids Sustain. Energy, vol. 3, no. 1, p. 15, Oct. 2018, doi: 10.1007/s40866-018-0052-y.

[51]	T. Labeodan, K. Aduda, G. Boxem, and W. Zeiler, “On the application of multi-agent systems in buildings for improved building operations, performance and smart grid interaction – A survey,” Renew. Sustain. Energy Rev., vol. 50, pp. 1405–1414, Oct. 2015, doi: 10.1016/j.rser.2015.05.081.

[52]	H. Zhou, B. Li, X. Zong, and D. Chen, “Transactive energy system: Concept, configuration, and mechanism,” Front. Energy Res., vol. 10, p. 1057106, Jan. 2023, doi: 10.3389/fenrg.2022.1057106.

[53]	N. Cuadrado, R. Gutierrez, Y. Zhu, and M. Takac, “MAHTM: A Multi-Agent Framework for Hierarchical Transactive Microgrids,” 2023, arXiv. doi: 10.48550/ARXIV.2303.08447.

[54]	P. Astero, B. J. Choi, and H. Liang, “Multi‐agent transactive energy management system considering high levels of renewable energy source and electric vehicles,” IET Gener. Transm. Distrib., vol. 11, no. 15, pp. 3713–3721, Oct. 2017, doi: 10.1049/iet-gtd.2016.1916.

[55]	A. M. Abdulmohsen, W. A. Omran, W. El-baz, M. Abdel-Rahman, and M. Ezzat, “Multiagent based transactive energy market model,” Ain Shams Eng. J., vol. 15, no. 6, p. 102715, Jun. 2024, doi: 10.1016/j.asej.2024.102715.

[56]	J. P. Palacios, M. E. Samper, and A. Vargas, “Dynamic transactive energy scheme for smart distribution networks in a Latin American context,” IET Gener. Transm. Distrib., vol. 13, no. 9, pp. 1481–1490, May 2019, doi: 10.1049/iet-gtd.2018.5272.

[57]	B. V. Mbuwir, L. Vanmunster, K. Thoelen, and G. Deconinck, “A hybrid policy gradient and rule-based control framework for electric vehicle charging,” Energy AI, vol. 4, p. 100059, Jun. 2021, doi: 10.1016/j.egyai.2021.100059.

[58]	N. Altin, S. E. Eyimaya, and A. Nasiri, “Multi-Agent-Based Controller for Microgrids: An Overview and Case Study,” Energies, vol. 16, no. 5, p. 2445, Mar. 2023, doi: 10.3390/en16052445.

[59]	C. Zhang, J. Zhang, J. Lu, and Y. Zhao, “Large Language Models Meet Energy Systems: Opportunities, Challenges, and Future Perspectives,” Appl. Energy, vol. 403, p. 127076, Jan. 2026, doi: 10.1016/j.apenergy.2025.127076.

[60]	C. Huang, S. Li, R. Liu, H. Wang, and Y. Chen, “Large Foundation Models for Power Systems,” 2023, arXiv. doi: 10.48550/ARXIV.2312.07044.

[61]	H. Shahbazi and F. Karbalaei, “Decentralized Voltage Control of PowerSystems Using Multi-agent Systems,” J. Mod. Power Syst. Clean Energy, vol. 8, no. 2, pp. 249–259, 2020, doi: 10.35833/MPCE.2018.000628.

[62]	P. T. Manditereza and R. C. Bansal, “Multi-Agent Based Distributed Voltage Control Algorithm for Smart Grid Applications,” Electr. Power Compon. Syst., vol. 44, no. 20, pp. 2352–2363, Dec. 2016, doi: 10.1080/15325008.2016.1219889.

[63]	A. Bidram, A. Davoudi, F. L. Lewis, and Z. Qu, “Secondary control of microgrids based on distributed cooperative control of multi‐agent systems,” IET Gener. Transm. Distrib., vol. 7, no. 8, pp. 822–831, Aug. 2013, doi: 10.1049/iet-gtd.2012.0576.

[64]	A. Kantamneni, L. E. Brown, G. Parker, and W. W. Weaver, “Survey of multi-agent systems for microgrid control,” Eng. Appl. Artif. Intell., vol. 45, pp. 192–203, Oct. 2015, doi: 10.1016/j.engappai.2015.07.005.

[65]	V. N. Coelho, M. Weiss Cohen, I. M. Coelho, N. Liu, and F. G. Guimarães, “Multi-agent systems applied for energy systems integration: State-of-the-art applications and trends in microgrids,” Appl. Energy, vol. 187, pp. 820–832, Feb. 2017, doi: 10.1016/j.apenergy.2016.10.056.

[66]	D. Luo, “Optimizing Load Scheduling in Power Grids Using Reinforcement Learning and Markov Decision Processes,” 2024, arXiv. doi: 10.48550/ARXIV.2410.17696.

[67]	G. Rohbogner, U. Hahnel, P. Benoit, and S. Fey, “Multi-agent systems’ asset for smart grid applications,” Comput. Sci. Inf. Syst., vol. 10, no. 4, pp. 1799–1822, 2013, doi: 10.2298/CSIS130224072R.

[68]	O. O. Tooki and O. M. Popoola, “A comprehensive review on recent advances in transactive energy system: Concepts, models, metrics, technologies, challenges, policies and future,” Renew. Energy Focus, vol. 50, p. 100596, Sep. 2024, doi: 10.1016/j.ref.2024.100596.

[69]	D. Toquica, K. Agbossou, N. Henao, R. Malhamé, S. Kelouwani, and F. Amara, “Prevision and planning for residential agents in a transactive energy environment,” Smart Energy, vol. 2, p. 100019, May 2021, doi: 10.1016/j.segy.2021.100019.

[70]	E. Marchesini et al., “RL2Grid: Benchmarking Reinforcement Learning in Power Grid Operations,” 2025, arXiv. doi: 10.48550/ARXIV.2503.23101.

[71]	M. Jin, “Reinforcement Learning Meets the Power Grid: A Contemporary Survey with Emphasis on Safety and Multi-agent Challenges,” Found. Trends® Electr. Energy Syst., vol. 8, no. 3–4, pp. 169–316, 2025, doi: 10.1561/3100000043.

[72]	T. Su, T. Wu, J. Zhao, A. Scaglione, and L. Xie, “A Review of Safe Reinforcement Learning Methods for Modern Power Systems,” 2024, arXiv. doi: 10.48550/ARXIV.2407.00304.

[73]	P. Yu, H. Zhang, Y. Song, Z. Wang, H. Dong, and L. Ji, “Safe reinforcement learning for power system control: A review,” Renew. Sustain. Energy Rev., vol. 223, p. 116022, Nov. 2025, doi: 10.1016/j.rser.2025.116022.

[74]	S. Cornejo, S. H. Jung, and A. Salado, “A Double‐Helix Model for the V&V of Physical and Digital Twins,” INCOSE Int. Symp., vol. 35, no. 1, pp. 794–803, Jul. 2025, doi: 10.1002/iis2.70114.

[75]	S. Golestan, M. R. Habibi, S. Y. Mousazadeh Mousavi, J. M. Guerrero, and J. C. Vasquez, “Quantum computation in power systems: An overview of recent advances,” Energy Rep., vol. 9, pp. 584–596, Dec. 2023, doi: 10.1016/j.egyr.2022.11.185.

[76]	Y. Chen, “A Review of Quantum Computing Technologies in Power System Optimization”.

[77]	D. Liu et al., “Multi-agent quantum-inspired deep reinforcement learning for real-time distributed generation control of 100% renewable energy systems,” Eng. Appl. Artif. Intell., vol. 119, p. 105787, Mar. 2023, doi: 10.1016/j.engappai.2022.105787.

[78]	X. Shen, J. Tang, F. Pan, B. Qian, and Y. Zhao, “Quantum-inspired deep reinforcement learning for adaptive frequency control of low carbon park island microgrid considering renewable energy sources,” Front. Energy Res., vol. 12, p. 1366009, May 2024, doi: 10.3389/fenrg.2024.1366009.

[79]	H. F. Hamann et al., “Foundation Models for the Electric Power Grid,” 2024, arXiv. doi: 10.48550/ARXIV.2407.09434.

[80]	S. Choi et al., “eGridGPT: Trustworthy AI in the Control Room,” NREL/TP--5D00-87740, 2352232, MainId:88515, May 2024. doi: 10.2172/2352232.

[81]	Y. Cheng, H. Zhao, X. Zhou, J. Zhao, Y. Cao, and C. Yang, “GAIA -- A Large Language Model for Advanced Power Dispatch,” 2024, arXiv. doi: 10.48550/ARXIV.2408.03847.

[82]	M. A. M. Yassin, A. Shrestha, and S. Rabie, “Digital twin in power system research and development: Principle, scope, and challenges,” Energy Rev., vol. 2, no. 3, p. 100039, Sep. 2023, doi: 10.1016/j.enrev.2023.100039.

[83]	Z. Song et al., “Digital Twins for the Future Power System: An Overview and a Future Perspective,” Sustainability, vol. 15, no. 6, p. 5259, Mar. 2023, doi: 10.3390/su15065259.

[84]	A. T. D. Perera and P. Kamalaruban, “Applications of reinforcement learning in energy systems,” Renew. Sustain. Energy Rev., vol. 137, p. 110618, Mar. 2021, doi: 10.1016/j.rser.2020.110618.

[85]	J. Stiasny, S. Chevalier, R. Nellikkath, B. Sævarsson, and S. Chatzivasileiadis, “Closing the Loop: A Framework for Trustworthy Machine Learning in Power Systems,” 2022, arXiv. doi: 10.48550/ARXIV.2203.07505.

[86]	M. Kop, “EU Artificial Intelligence Act - The European Approach to AI”.

[87]	E. Papagiannidis, P. Mikalef, and K. Conboy, “Responsible artificial intelligence governance: A review and research framework,” J. Strateg. Inf. Syst., vol. 34, no. 2, p. 101885, Jun. 2025, doi: 10.1016/j.jsis.2024.101885.